## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | ROADWORKS
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R18 | m³ | 1950 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R18 | m² | 3080 |  | 0
A007 | A.3 | Crushed Sub-base Material | CW 3110-R18
A007A | i) | 50 mm |  | tonne | 3000 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R18 | m³ | 285 |  | 0
A016 | A.5 | Removal of Existing Concrete Bases | CW 3110-R18
A017 | i) | 600 mm Diameter or Less |  | each | 4 |  | 0
A022 | A.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 3080 |  | 0
ROADWORKS - RENEWALS
| A.7 | Removal of Existing Waste Receptacle and Bike Loop for Delivery to Public Works | E12 | ls | 1 |  | 0
| A.8 | Removal and Stockpiling of Existing Unit Pavers and Delivery to Public Works | E13 | m² | 1115 |  | 0
| A.9 | Removal of Existing #113 Market Avenue Stairs and Landing | E12 | ls | 1 |  | 0
B001 | A.10 | Pavement Removal | CW 3110-R18
B002 | i) | Concrete Pavement |  | m² | 1735 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 200 |  | 0
B017 | A.11 | Partial Slab Patches | CW 3230-R8
B023 | i) | 230 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B094 | A.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 65 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 135 |  | 0
B100r | A.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1115 |  | 0
B114rl | A.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 25 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 50 |  | 0
B126r | A.16 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Integral |  | m | 20 |  | 0
B154rl | A.17 | Concrete Curb Renewal | CW 3240-R10
B170rl | i) | Curb and Gutter (150 mm reveal ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200
B172rl | a) | 3 m to 30 m |  | m | 35 |  | 0
B200 | A.18 | Planing of Pavement | CW 3450-R5
B201 | i) | 0 - 50 mm Depth (Asphalt) |  | m² | 150 |  | 0
B219 | A.19 | Detectable Warning Surface Tiles | CW 3326-R1
B221 | i) | 610 mm X 1220 mm |  | each | 5 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.20 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R15
C008 | i) | Construction of 200 mm Concrete Pavement (Reinforced) | CW 3310-R15 E17 | m² | 1300 |  | 0
C032 | A.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R15
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 20 |  | 0
C038 | ii) | Construction of Curb and Gutter (180mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 40 |  | 0
C038 | iii) | Construction of Curb and Gutter (180mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement), Slip Form Paving | SD-200 | m | 250 |  | 0
C041 | iv) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 35 |  | 0
C051 | A.22 | 100 mm Concrete Sidewalk | CW 3325-R5 E17 | m² | 1300 |  | 0
C055 | A.23 | Construction of Asphaltic Concrete Pavements | CW 3410-R10
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 255 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 40 |  | 0
C063 | A.24 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R10 | tonne | 355 |  | 0
C064 | A.25 | Construction of Asphalt Patches | CW 3410-R10 | m² | 10 |  | 0
JOINT AND CRACK SEALING
D001 | A.26 | Joint Sealing | CW 3250-R7 | m | 300 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
| A.27 | Catch Basin c/w Barrier Curb and Gutter Frame and Cover | CW 2130-R12
E004 | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0
| A.28 | Catch Pit c/w Barrier Curb and Gutter Frame and Cover | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E008 | A.29 | Sewer Service | CW 2130-R12 |  | 0
E009 | i) | 250 mm, SDR-35
E011 | a) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 32 |  | 0
E023 | A.30 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E028 | i) | AP-008 - Barrier Curb and Gutter Inlet Frame and Box |  | each | 1 |  | 0
E029 | ii) | AP-009 - Barrier Curb and Gutter Inlet Cover |  | each | 1 |  | 0
E036 | A.31 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type SDR-35) Connecting Pipe
E039 | a) | Connecting to 375 mm Sewer |  | each | 5 |  | 0
E046 | A.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 3 |  | 0
E050 | A.33 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 3 |  | 0
E051 | A.34 | Installation of Subdrains | CW 3120-R4 | m | 72 |  | 0
ADJUSTMENTS
F001 | A.35 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 4 |  | 0
F002 | A.36 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0
F003 | A.37 | Lifter Rings | CW 3210-R7
F004 | i) | 38 mm |  | each | 3 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
F009 | A.38 | Adjustment of Valve Boxes | CW 3210-R7 | each | 3 |  | 0
F010 | A.39 | Valve Box Extensions | CW 3210-R7 | each | 3 |  | 0
MISCELLANEOUS
| A.40 | Installation of Conduit in Open Trench | E16 | m | 60 |  | 0
| A.41 | Supply and Install CIP Reinforced Concrete Pile for Pedestrian Light (including excavation, anchor rods and conduit for electrical) | E30 | each | 6 |  | 0
| A.42 | Construction of Cast-in-Place Concrete | E30
| i) | Supply and Install #113 Market Avenue CIP Stairs c/w Landing (incl. Footings, and Base Course) |  | ls | 1 |  | 0
| ii) | Supply and Install Bertha Street Walkway @ John Hirsch Place CIP Stairs (incl. Base Course) |  | ls | 1 |  | 0
| iii) | Supply and Install Bertha Street Walkway @ John Hirsch Place CIP Ramp c/w Adjacent Retaining Walls (incl. Footings, and Base Course) |  | ls | 1 |  | 0
| iv) | Supply and Install Bertha Street Walkway CIP Window Wells (incl. Footings, and Connection to Existing Drainage Pipe) |  | ls | 1 |  | 0
| v) | Supply and Install John Hirsch Place Walkway CIP Retaining Wall (incl. Footings, and Base Course) |  | ls | 1 |  | 0
| vi) | Supply and Install John Hirsch Place CIP Stairs (incl. Base Course) |  | ls | 1 |  | 0
PROVISIONAL ITEMS
| A.43 | Removal of Concrete Rail Ties | E23 | m³ | 40 |  | 0
| A | ROADWORKS |  |  |  |  | 0
| B | STREETSCAPING
EXCAVATIONS AND REMOVALS
| B.1 | Removal of Wood Lattice Fence | E12 | m | 47 |  | 0
| B.2 | Removal and Disposal of Trees and Shrubs in Planting Beds incl. Wood Edger |  | m² | 167 |  | 0
| B.3 | Removal and Disposal of Trees and Shrubs in Paving Area |  | each | 3 |  | 0
| B.4 | Removal and Disposal of Sod |  | m² | 562 |  | 0
TREE VAULTS
| B.5 | Construction of Tree Vaults | E11 | m³ | 83 |  | 0
| B.6 | Pre-cast Concrete Sidewalk Panel | E11 | each | 56 |  | 0
| B.7 | 150mm Diameter Perforated Drainage Pipe | CW 3120-R4 E11 | m | 125 |  | 0
| B.8 | 150mm Diameter PVC Conduit | E11 | m | 70 |  | 0
UNIT PAVING
| B.9 | Removal and Stockpile of Unit Pavers for Reinstallation | E14
| i) | Stockpiled Granite Pavers |  | m² | 95 |  | 0
| ii) | Stockpiled Unit Pavers |  | m² | 12 |  | 0
C052 | B.10 | Interlocking Paving Stones | CW 3330-R5 E14 |  |  |  | 0
| B.11 | Holland Unit Paver, Sierra Grey Colour |  | m² | 42 |  | 0
| B.12 | Broadway Unit Paver, Buff Colour |  | m² | 110 |  | 0
| B.13 | Broadway Unit Paver, Charcoal Colour |  | m² | 20 |  | 0
| B.14 | Broadway Unit Paver, Mahogony Colour |  | m² | 23 |  | 0
| B.15 | Broadway 318 Unit Paver, Charcoal Colour |  | m² | 130 |  | 0
| B.16 | Endicott Brick Paver, Dark Ironspot Colour |  | m² | 152 |  | 0
EXTERIOR METAL FABRICATION
| B.17 | Supply and Installation of Handrail | E20 | m | 36 |  | 0
| B.18 | Supply and Installation of Steel Bollards, Painted Flat Black | E20 | each | 2 |  | 0
| B.19 | Supply and Installation of Steel Trellis, Painted Flat Black | E20 | ls | 1 |  | 0
| B.20 | Supply and Installation of Window Well Heavy Duty Steel Grating | E20 | each | 12 |  | 0
EXTERIOR SITE CARPENTRY
| B.21 | Supply and Installation of Lattice Screen Fence | E21 | m | 44 |  | 0
RAILS IN CONCRETE BLOCKOUTS
| B.22 | Salvage and Reinstallation of Rails in Concrete Blockout | E23 | m | 122 |  | 0
| B.23 | Supply and Installation of 60#ASCE Enclosed Flangeway | E23 | m | 244 |  | 0
DETECTABLE STRIPS
| B.24 | Detectable Strips - Balco R300 Single Component Stair Nosing, Black Colour”. | E24 | m | 66 |  | 0
PAVEMENT STAINING
| B.25 | Chemical Etching - Chemical Etching - Lithicrome Chemistain Classic, CS-1 Black Colour | E25 | m² | 8 |  | 0
SITE FURNISHINGS
| B.26 | Victor Stanley Inc. Classic Series C-140 Bench with Centre Arm Rest, Black Powdercoated, IPE Hardwood Slats | E26 | each | 5 |  | 0
| B.27 | Removal and Stockpile of Existing Bollards for Reinstallation | E15 | each | 6 |  | 0
| B.28 | Greenscreen Panels | E26 | each | 8 |  | 0
SOFT LANDSCAPING
| B.29 | Pruning of Existing Trees | E3 | ls | 1 |  | 0
| B.30 | Planting Medium | E28 | m3 | 246 |  | 0
| B.31 | Wood Chip Mulch | E28 | m² | 613 |  | 0
| B.32 | Black Granite Mulch | E28 | m² | 113 |  | 0
| B.33 | Amur Maple | E28 | each | 7 |  | 0
| B.34 | White Spruce | E28 | each | 5 |  | 0
| B.35 | Miss Kim Lilac | E28 | each | 390 |  | 0
| B.36 | False Spirea | E28 | each | 9 |  | 0
| B.37 | Blue Muffin Viburnum | E28 | each | 48 |  | 0
| B.38 | Red Osier Dogwood | E28 | each | 21 |  | 0
| B.39 | Alpine Currant | E28 | each | 19 |  | 0
| B.40 | Darts Gold Ninebark | E28 | each | 32 |  | 0
| B.41 | Mugo Pine | E28 | each | 5 |  | 0
| B.42 | Dwarf Mugo Piune | E28 | each | 5 |  | 0
| B.43 | Bar Harbour Juniper | E28 | each | 24 |  | 0
| B.44 | Engleman's Ivy | E28 | each | 20 |  | 0
LANDSCAPE MAINTENANCE
| B.45 | Year One (1) Maintenance | E29 | ls | 1 |  | 0
| B.46 | Year Two (2) Maintenance | E29 | ls | 1 |  | 0
| B | STREETSCAPING |  |  |  |  | 0
| C | ELECTRICAL
| C.1 | Pole Lighting (Utilizing Existing Poles On Site) | 265000 260010 260534 260529 260545
| i) | Holophane Washington Mounted LED Luminaires |  | each | 6 |  | 0
| ii) | 35mm PVC Conduit |  | m | 12 |  | 0
| iii) | #10 RW90 Cu. Wire |  | m | 36 |  | 0
| C.2 | Wall Luminaires | 265000 260010 260534 260529 260545
| i) | Holophane Washington Wall Mounted LED Luminaires |  | each | 16 |  | 0
| ii) | 21mm PVC Conduit |  | m | 260 |  | 0
| iii) | #8 RW90 Cu. Wire |  | m | 158 |  | 0
| iv) | #10 RW90 Cu. Wire |  | m | 622 |  | 0
| C.3 | Trellis Lighting | 265000 260010 260534 260529 260545
| i) | Bega Luminaires |  | each | 9 |  | 0
| ii) | BK Luminaires |  | each | 9 |  | 0
| iii) | Square 4" Junction Boxes (Painted Black) |  | each | 9 |  | 0
| iv) | Octagonal 4" Junction Boxes (Painted Black) |  | each | 9 |  | 0
| v) | 27mm PVC Conduit |  | m | 72 |  | 0
| vi) | #12 RW90 Cu. Wire |  | m | 216 |  | 0
| C.4 | Site Services | 265000 260010 260534 260529 260545
| i) | CSTE - 200A, 120/240V, 1Φ, 3W |  | each | 1 |  | 0
| ii) | Weatherproof Panel Board - 100A, 120/240V, 1Φ, 3W |  | each | 2 |  | 0
| iii) | 41mm PVC Conduit |  | m | 41 |  | 0
| iv) | #1/0 RW90 Cu. Cable |  | m | 123 |  | 0
| C | ELECTRICAL |  |  |  | Subtotal: | 0
SUMMARY
| A | ROADWORKS |  |  |  | Subtotal: | 0
| B | STREETSCAPING |  |  |  | Subtotal: | 0
| C | ELECTRICAL |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0