## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 - CITY FUNDED WORK
| A | RECONSTRUCTION: VIVIAN AVENUE FROM RUE DES MEURONS TO ST. MARY'S ROAD
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R19 | m³ | 1500 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 2350 |  | 0
A007 | A.3 | Crushed Sub-base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 2200 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 220 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R19 | m² | 1000 |  | 0
A022 | A.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 2350 |  | 0
ROADWORKS - RENEWALS
B001 | A.7 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 2050 |  | 0
B094 | A.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 40 |  | 0
B097 | A.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 70 |  | 0
B114rl | A.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 35 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 115 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 80 |  | 0
B124 | A.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | A.12 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | A.13 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B154rl | A.14 | Concrete Curb Renewal | CW 3240-R10
B167rl | i) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 5 |  | 0
B184rl | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 15 |  | 0
B189 | A.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B219 | A.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 7 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.17 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C011 | i) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 150 |  | 0
C032 | A.18 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C034 | i) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 10 |  | 0
C037 | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 30 |  | 0
C038 | iii) | Construction of Curb and Gutter (180mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 410 |  | 0
C040 | iv) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-202B | m | 60 |  | 0
C041 | v) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 10 |  | 0
C046 | vi) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 30 |  | 0
C051 | A.19 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 25 |  | 0
C052 | A.20 | Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
C055 | A.21 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 250 |  | 0
| b) | Type III |  | tonne | 360 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 30 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.22 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0
E008 | A.23 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type Sand Bedding, Class 2 Backfill |  | m | 20 |  | 0
E023 | A.24 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E036 | A.25 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E040 | a) | Connecting to 450 mm (Type Clay) Sewer |  | each | 4 |  | 0
E047 | A.26 | Removal of Existing Catch Pit | CW 2130-R12 | each | 4 |  | 0
E051 | A.27 | Installation of Subdrains | CW 3120-R4 | m | 48 |  | 0
E072 | A.28 | Watermain and Water Service Insulation | E11
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 20 |  | 0
ADJUSTMENTS
F001 | A.29 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 4 |  | 0
F002 | A.30 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | A.31 | Lifter Rings | CW 3210-R7
F005 | i) | 51 mm |  | each | 4 |  | 0
F009 | A.32 | Adjustment of Valve Boxes | CW 3210-R7 | each | 5 |  | 0
F010 | A.33 | Valve Box Extensions | CW 3210-R7 | each | 3 |  | 0
F011 | A.34 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 14 |  | 0
F018 | A.35 | Curb Stop Extensions | CW 3210-R7 | each | 7 |  | 0
F028 | A.36 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R7 | each | 1 |  | 0
LANDSCAPING
G001 | A.37 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 1000 |  | 0
MISCELLANEOUS
| A.38 | Hydrovac | E12 | hrs | 8 |  | 0
| A | RECONSTRUCTION: VIVIAN AVENUE FROM RUE DES MEURONS TO ST. MARY'S ROAD |  |  |  | Subtotal: | 0
| B | RECONSTRUCTION: PORTLAND AVENUE FROM ST. GEORGE ROAD TO NEEPAWA STREET
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R19 | m³ | 2800 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 3870 |  | 0
A007 | B.3 | Crushed Sub-base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 3150 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 355 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R19 | m² | 1700 |  | 0
A022 | B.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 3870 |  | 0
ROADWORKS - RENEWALS
B001 | B.7 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 3670 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 35 |  | 0
B094 | B.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 70 |  | 0
B097 | B.9 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 125 |  | 0
B114rl | B.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 70 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 270 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 240 |  | 0
B189 | B.11 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.12 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C011 | i) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 230 |  | 0
C019 | B.13 | Concrete Pavements for Early Opening | CW 3310-R17
C029 | i) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 30 |  | 0
C032 | B.14 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C038 | i) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 655 |  | 0
C039 | ii) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B | m | 90 |  | 0
C040 | iii) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-202B | m | 75 |  | 0
C041 | iv) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 40 |  | 0
C052 | B.15 | Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
C055 | B.16 | Construction of Asphaltic Concrete Pavements | CW 3410-R11
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 690 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 120 |  | 0
JOINT AND CRACK SEALING
D006 | B.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 60 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.18 | Catch Basin | CW 2130-R12
E005 | i) | SD-025, 1200 mm deep |  | each | 10 |  | 0
E006 | B.19 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 9 |  | 0
E008 | B.20 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type Sand Bedding, Class 2 Backfill |  | m | 50 |  | 0
E012 | B.21 | Drainage Connection Pipe | CW 2130-R12 | m | 40 |  | 0
E023 | B.22 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 11 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 11 |  | 0
E034 | B.23 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 9 |  | 0
E042 | B.24 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 9 |  | 0
E046 | B.25 | Removal of Existing Catch Basins | CW 2130-R12 | each | 6 |  | 0
E047 | B.26 | Removal of Existing Catch Pit | CW 2130-R12 | each | 18 |  | 0
E050A | B.27 | Catch Basin Cleaning | CW 2140-R3 | each | 10 |  | 0
E051 | B.28 | Installation of Subdrains | CW 3120-R4 | m | 62 |  | 0
E072 | B.29 | Watermain and Water Service Insulation | E11
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 485 |  | 0
ADJUSTMENTS
F001 | B.30 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 11 |  | 0
F002 | B.31 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | B.32 | Lifter Rings | CW 3210-R7
F005 | i) | 51 mm |  | each | 5 |  | 0
F009 | B.33 | Adjustment of Valve Boxes | CW 3210-R7 | each | 3 |  | 0
F010 | B.34 | Valve Box Extensions | CW 3210-R7 | each | 2 |  | 0
F011 | B.35 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 20 |  | 0
F018 | B.36 | Curb Stop Extensions | CW 3210-R7 | each | 10 |  | 0
LANDSCAPING
G001 | B.37 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 1700 |  | 0
MISCELLANEOUS
| B.38 | Hydrovac | E12 | hrs | 8 |  | 0
| B | RECONSTRUCTION: PORTLAND AVENUE FROM ST. GEORGE ROAD TO NEEPAWA STREET |  |  |  | Subtotal: | 0
| C | REHABILITATION: TRAVERSE AVENUE FROM ENFIELD CRESCENT TO ST. MARY'S ROAD
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R19 | m³ | 100 |  | 0
A010 | C.2 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 100 |  | 0
A012 | C.3 | Grading of Boulevards | CW 3110-R19 | m² | 1500 |  | 0
ROADWORKS - RENEWALS
B004 | C.4 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 220 |  | 0
B017 | C.5 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 25 |  | 0
B031 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B033 | iii) | 150 mm Concrete Pavement (Type D) |  | m² | 60 |  | 0
B064-72 | C.6 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 220 |  | 0
B077-72 | C.7 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B091-72 | i) | 150 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B093-72 | ii) | 150 mm Concrete Pavement (Type D) |  | m² | 80 |  | 0
B094 | C.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 120 |  | 0
B097 | C.9 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 155 |  | 0
B100r | C.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 120 |  | 0
B107i | C.11 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 225 |  | 0
B112i | ii) | Bullnose | SD-227C | m² | 15 |  | 0
B114rl | C.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 25 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 160 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 380 |  | 0
B124 | C.13 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | C.14 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | C.15 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | C.16 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Integral |  | m | 95 |  | 0
B135i | C.17 | Concrete Curb Installation | CW 3240-R10
B137i | i) | Barrier (100 mm reveal ht, Separate) | SD-203A | m | 80 |  | 0
B139i | ii) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 70 |  | 0
B140i | iii) | Modified Barrier (150 mm reveal ht, Integral) | SD-203B | m | 25 |  | 0
B150i | iv) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 50 |  | 0
B154rl | C.18 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 20 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 140 |  | 0
B184rl | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 105 |  | 0
B190 | C.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 950 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 150 |  | 0
B200 | C.20 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 930 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 830 |  | 0
B219 | C.21 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 34 |  | 0
JOINT AND CRACK SEALING
D005 | C.22 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 50 |  | 0
D006 | C.23 | Reflective Crack Maintenance | CW 3250-R7 | m | 1100 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.24 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1800 mm deep |  | each | 5 |  | 0
E006 | C.25 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 7 |  | 0
E008 | C.26 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 15 |  | 0
E012 | C.27 | Drainage Connection Pipe | CW 2130-R12 | m | 40 |  | 0
E023 | C.28 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 14 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 13 |  | 0
E026 | iii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | C.29 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E034 | C.30 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 7 |  | 0
E042 | C.31 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 6 |  | 0
E046 | C.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E047 | C.33 | Removal of Existing Catch Pit | CW 2130-R12 | each | 8 |  | 0
E050A | C.34 | Catch Basin Cleaning | CW 2140-R3 | each | 11 |  | 0
ADJUSTMENTS
F001 | C.35 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 16 |  | 0
F003 | C.36 | Lifter Rings | CW 3210-R7
F005 | i) | 51 mm |  | each | 5 |  | 0
F007 | ii) | 76 mm |  | each | 5 |  | 0
F009 | C.37 | Adjustment of Valve Boxes | CW 3210-R7 | each | 8 |  | 0
F010 | C.38 | Valve Box Extensions | CW 3210-R7 | each | 2 |  | 0
F012 | C.39 | Supply of Curb Inlet Box Covers | CW 3210-R7 | each | 4 |  | 0
F018 | C.40 | Curb Stop Extensions | CW 3210-R7 | each | 2 |  | 0
| C.41 | Adjustment of MTS Manhole Frame | E13 | each | 5 |  | 0
LANDSCAPING
G001 | C.42 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 450 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1050 |  | 0
| C | REHABILITATION: TRAVERSE AVENUE FROM ENFIELD CRESCENT TO ST. MARY'S ROAD |  |  |  | Subtotal: | 0
| D | REHABILITATION: DUSSAULT AVENUE FROM COTTONWOOD ROAD TO BIBEAU BAY
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R19 | m³ | 40 |  | 0
A010 | D.2 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 40 |  | 0
A012 | D.3 | Grading of Boulevards | CW 3110-R19 | m² | 900 |  | 0
ROADWORKS - RENEWALS
B001 | D.4 | Pavement Removal | CW 3110-R19
B003 | i) | Asphalt Pavement |  | m² | 70 |  | 0
B004 | D.5 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 130 |  | 0
B017 | D.6 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B031 | ii) | 150 mm Concrete Pavement (Type B) |  | m² | 90 |  | 0
B033 | iii) | 150 mm Concrete Pavement (Type D) |  | m² | 20 |  | 0
B064-72 | D.7 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Concrete Pavement (Reinforced) |  | m² | 120 |  | 0
B094 | D.8 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 250 |  | 0
B097 | D.9 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 50 |  | 0
B114rl | D.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 30 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B126r | D.11 | Concrete Curb Removal | CW 3240-R10
B130r | i) | Mountable Curb |  | m | 385 |  | 0
B135i | D.12 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 320 |  | 0
B137i | ii) | Barrier (100 mm reveal ht, Separate) | SD-203A | m | 70 |  | 0
B154rl | D.13 | Concrete Curb Renewal | CW 3240-R10
B167rl | i) | Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 50 |  | 0
B183rl | ii) | Modified Lip Curb (40 mm reveal ht, Dowelled) | SD-202C | m | 15 |  | 0
B184rl | iii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 10 |  | 0
B184rlA | iv) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 10 |  | 0
B189 | D.14 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 50 |  | 0
B190 | D.15 | Construction of Asphaltic Concrete Overlay | CW 3410-R11
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 480 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 50 |  | 0
B206 | D.16 | Pavement Repair Fabric | E10 | m² | 450 |  | 0
JOINT AND CRACK SEALING
D006 | D.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 550 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | D.18 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E028 | iii) | AP-008 - Barrier Curb and Gutter Inlet Frame and Box |  | each | 4 |  | 0
E029 | iv) | AP-009 - Barrier Curb and Gutter Inlet Cover |  | each | 4 |  | 0
E050A | D.19 | Catch Basin Cleaning | CW 2140-R3 | each | 4 |  | 0
ADJUSTMENTS
F001 | D.20 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 13 |  | 0
F003 | D.21 | Lifter Rings | CW 3210-R7
F005 | i) | 51 mm |  | each | 4 |  | 0
F009 | D.22 | Adjustment of Valve Boxes | CW 3210-R7 | each | 2 |  | 0
F010 | D.23 | Valve Box Extensions | CW 3210-R7 | each | 2 |  | 0
F011 | D.24 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 5 |  | 0
F018 | D.25 | Curb Stop Extensions | CW 3210-R7 | each | 5 |  | 0
LANDSCAPING
G001 | D.26 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 30 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 870 |  | 0
| D | REHABILITATION: DUSSAULT AVENUE FROM COTTONWOOD ROAD TO BIBEAU BAY |  |  |  | Subtotal: | 0
| E | SEWER REPAIRS: DUSSAULT AVENUE, TRAVERSE AVENUE, PORTLAND AVENUE, VIVIAN AVENUE
DUSSAULT AVENUE (CL50006428)
E022A | E.1 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 200 mm, LDS |  | m | 12 |  | 0
E017 | E.2 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 200 mm, LDS
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | E.3 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E021 | i) | 200 mm, LDS
E022 | a) | Class 3 Backfill |  | m | 1 |  | 0
DUSSAULT AVENUE (CL50006429)
E022A | E.4 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 200 mm, LDS |  | m | 10 |  | 0
E017 | E.5 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 200 mm, LDS
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
TRAVERSE AVENUE (CL50004370)
E022A | E.6 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 250 mm, LDS |  | m | 43 |  | 0
E017 | E.7 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 250 mm, LDS
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E019 | E.8 | Install New Manhole | CW-2130-R12
| i) | SD-010
| a) | 1200 mm Diameter Base |  | vert.m. | 3 |  | 0
| E.9 | New Manhole Inspection | CW2145-R3 | each | 1 |  | 0
PORTLAND AVENUE (MA50018702)
E022A | E.10 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 250 mm, CS |  | m | 56 |  | 0
E017 | E.11 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 250 mm, CS
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E042 | E.12 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm, WWS |  | each | 1 |  | 0
PORTLAND AVENUE (MA70118493)
E022A | E.13 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 250 mm, CS |  | m | 56 |  | 0
E017 | E.14 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 250 mm, CS
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | E.15 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E021 | i) | 250 mm, CS
E022 | a) | Class 3 Backfill |  | m | 1 |  | 0
E042 | E.16 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm, WWS |  | each | 1 |  | 0
VIVIAN AVENUE (MA70048793)
E022A | E.17 | Sewer Inspection ( following repair) | CW2145-R3
E022B | i) | 450 mm, CS |  | m | 31 |  | 0
E017 | E.18 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 450 mm, CS
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E042 | E.19 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm, WWS |  | each | 1 |  | 0
| E | SEWER REPAIRS: DUSSAULT AVENUE, TRAVERSE AVENUE, PORTLAND AVENUE, VIVIAN AVENUE |  |  |  | Subtotal: | 0
PART 2 - MANITOBA HYDRO FUNDED WORK
| F | NEW STREET LIGHT INSTALLATION
PORTLAND AVENUE FROM ST. GEORGE ROAD TO NEEPAWA STREET
| F.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances. | E14 | each | 9 |  | 0
| F.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E14 | lin.m | 477 |  | 0
| F.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E14 | each | 9 |  | 0
| F.4 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E14 | each | 2 |  | 0
| F.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E14 | each | 9 |  | 0
| F.6 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary feed. | E14 | per span | 9 |  | 0
| F.7 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary feed. | E14 | per span | 9 |  | 0
| F.8 | Install / lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E14 | each | 2 |  | 0
VIVIAN FROM RUE DES MEURONS TO ST. MARY'S ROAD
| F.9 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances. | E14 | each | 3 |  | 0
| F.10 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E14 | lin.m | 222 |  | 0
| F.11 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E14 | each | 3 |  | 0
| F.12 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E14 | each | 2 |  | 0
| F.13 | Install / lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E14 | each | 2 |  | 0
| F.14 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E14 | each | 5 |  | 0
| F.15 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary feed. | E14 | per span | 5 |  | 0
| F.16 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary feed. | E14 | per span | 5 |  | 0
| F.17 | Removal of luminaire and appurtenances. | E14 | each | 2 |  | 0
| F.18 | Installation of luminaire and appurtenances. | E14 | each | 2 |  | 0
| F | NEW STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 - CITY FUNDED WORK
| A | RECONSTRUCTION: VIVIAN AVENUE FROM RUE DES MEURONS TO ST. MARY'S ROAD |  |  |  | Subtotal: | 0
| B | RECONSTRUCTION: PORTLAND AVENUE FROM ST. GEORGE ROAD TO NEEPAWA STREET |  |  |  | Subtotal: | 0
| C | REHABILITATION: TRAVERSE AVENUE FROM ENFIELD CRESCENT TO ST. MARY'S ROAD |  |  |  | Subtotal: | 0
| D | REHABILITATION: DUSSAULT AVENUE FROM COTTONWOOD ROAD TO BIBEAU BAY |  |  |  | Subtotal: | 0
| E | SEWER REPAIRS: DUSSAULT AVENUE, TRAVERSE AVENUE, PORTLAND AVENUE, VIVIAN AVENUE |  |  |  | Subtotal: | 0
PART 2 - MANITOBA HYDRO FUNDED WORK
| F | NEW STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0