## FORM B - PRICES
FORM B(R1): PRICES
(SEE B10)
UNIT PRICES
| ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | Truro Creek at Winchester Street - Culvert Replacement
| A.1 | Mobilization and Demobilization | E5 | LS | 1 |  | 0
| A.2 | Traffic Control | E7 | LS | 1 |  | 0
| A.3 | Creek Flow Maintenance | E11 | LS | 1 |  | 0
| A.4 | Creek Bank Excavation | E12 | LS | 1 |  | 0
| A.5 | Slope Stabilization | E13 & CW 3615-R4
| i) | Class 350 Rip Rap |  | m3 | 250 |  | 0
| ii) | Infill 300 mm Nominal Stone Rip Rap |  | m3 | 2 |  | 0
| A.6 | Supply and Install Silt Fence Barrier | E14 | m | 65 |  | 0
| A.7 | Supply and Install Erosion Control Blanket (ECB) | E15 | m2 | 290 |  | 0
| A.8 | Culvert Demolition and Removals | E20 | LS | 1 |  | 0
| A.9 | Structural Backfill | E21 & CW 2030-R7 & CW 2160-R7
| i) | Flowable Cement-Stabilized Fill |  | LS | 1 |  | 0
| ii) | Drainage Fill & HDPE Perforated Drain |  | LS | 1 |  | 0
| iii) | Clay Fill |  | LS | 1 |  | 0
| iv) | Granular Base Course Material |  | LS | 1 |  | 0
| v) | Granular Sub-Base Course Material |  | LS | 1 |  | 0
| A.10 | Supply and Place Reinforcing Steel | E22 | kg | 27272 |  | 0
| A.11 | Supply and Place Structural Concrete | E23 | LS | 1 |  | 0
| A.12 | Supply and Install Anchor Units for Culvert Barrier Aluminum Top Rail | E23 | LS | 1 |  | 0
| A.13 | Concrete Heating and Hoarding | E23 | LS | 1 |  | 0
| A.14 | Board Insulation | E24
| i) | 75 mm Thick |  | m2 | 142 |  | 0
| A.15 | Supply and Install Culvert Barrier Aluminum Top Rail | E27 | m | 36 |  | 0
| A.16 | Hot-Poured Rubberized Asphalt Waterproofing | E28 | m2 | 73 |  | 0
| A.17 | Aluminum Balanced Barrier Guardrail | E29 & CW 3650-R6 | m | 35 |  | 0
| A.18 | Construction of Curb to Traffic Barrier Transition | E34 | m | 18 |  | 0
| A | Truro Creek at Winchester Street - Culvert Replacement |  |  |  | Subtotal: | 0
| B | Truro Creek at Winchester Street - Roadworks & Underground Works
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R19 | m³ | 205 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 540 |  | 0
A007 | B.3 | Crushed Sub-base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 250 |  | 0
A010A | B.4 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 50 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R19 | m² | 550 |  | 0
A022 | B.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 540 |  | 0
A022A | B.7 | Supply and Install Geogrid | CW 3135-R1 | m² | 540 |  | 0
ROADWORKS - RENEWALS
B001 | B.8 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 600 |  | 0
B094 | B.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 50 |  | 0
B097 | B.10 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 60 |  | 0
B100r | B.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 100 |  | 0
B107i | B.12 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 35 |  | 0
B114rl | B.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 100 |  | 0
| B.14 | Construction of Asphaltic Concrete Overlay | E31 & CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 100 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 15 |  | 0
B199 | B.15 | Construction of Asphalt Patches | CW 3410-R11 | m² | 10 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.16 | Concrete Pavements, Median Slabs, Bull-Noses, and Safety Medians | CW 3310-R17
C011 | i) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 510 |  | 0
C032 | B.17 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 115 |  | 0
C036 | ii) | Construction of Modified Barrier (150 mm ht, Dowelled) | SD-203B | m | 12 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 15 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 3 |  | 0
JOINT AND CRACK SEALING
| B.18 | Reflective Crack Maintenace | CW 3250-R7 | m | 130 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.19 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
| B.20 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 9 |  | 0
E023 | B.21 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E034 | B.22 | Connecting to Existing Catch Basin | CW 2130-R12
| i) | 250 mm (PVC) Connecting Pipe
| a) | Connecting to 250 mm (Concrete) Sewer |  | each | 2 |  | 0
E046 | B.23 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
E050 | B.24 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
E051 | B.25 | Installation of Subdrains | CW 3120-R4 | m | 24 |  | 0
ADJUSTMENTS
F001 | B.26 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F002 | B.27 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-Cast Concrete Risers |  | vert. m | 0.5 |  | 0
F003 | B.28 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 1 |  | 0
LANDSCAPING
G001 | B.29 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 650 |  | 0
G004 | B.30 | Seeding | CW 3520-R7 | m2 | 290 |  | 0
MISCELLANEOUS
| B.31 | Removal of Existing Trees | E26 | each | 5 |  | 0
UNDERGROUND WORKS
| B.32 | Existing Water Main Removal | CW 2110-R11 & E18 | m | 40 |  | 0
| B.33 | Connection to Existing Water Main | CW 2110-R11 & E17 & E19 | each | 2 |  | 0
| B.34 | Supply and Install New Water Main | CW 2110-R11 & E17 & E19
| i) | 150 dia. PVC C900
| a) | In a Trench, Class B Bedding, Class 5 Backfill |  | m | 45 |  | 0
| B.35 | Supply and install Valves and Fittings | CW 2110-R11 |  |  |  | 0
| i) | 150 dia. |  |  |  |  | 0
| a) | 22.5° Bend |  | each | 4 |  | 0
| b) | 45° Bend |  | each | 4 |  | 0
| B | Truro Creek at Winchester Street - Roadworks & Underground Works |  |  |  | Subtotal: | 0
| C | Truro Creek at Linwood Street - Culvert Replacement
| C.1 | Mobilzation and Demobilization | E5 | LS | 1 |  | 0
| C.2 | Traffic and Control | E7 | LS | 1 |  | 0
| C.3 | Creek Flow Maintenance | E11 | LS | 1 |  | 0
| C.4 | Creek Bank Excavation | E12 | LS | 1 |  | 0
| C.5 | Slope Stabilization | E13 & CW 3615-R4
| i) | Class 350 Rip Rap |  | m3 | 300 |  | 0
| ii) | Infill 300 mm Nominal Stone Rip Rap |  | m3 | 2 |  | 0
| C.6 | Supply and Install Silt Fence Barrier | E14 | m | 45 |  | 0
| C.7 | Supply and Install Erosion Control Blanket (ECB) | E15 | m2 | 125 |  | 0
| C.8 | Culvert Demolition and Removals | E20 | LS | 1 |  | 0
| C.9 | Structural Backfill | E21 & CW 2030-R7 & CW 2160-R7
| i) | Flowable Cement-Stabilized Fill |  | LS | 1 |  | 0
| ii) | Drainage Fill & HDPE Perforated Drain |  | LS | 1 |  | 0
| iii) | Clay Fill |  | LS | 1 |  | 0
| iv) | Granular Base Course Material |  | LS | 1 |  | 0
| v) | Granular Sub-Base Course Material |  | LS | 1 |  | 0
| C.10 | Supply and Place Reinforcing Steel | E22 | kg | 24682 |  | 0
| C.11 | Supply and Place Structural Concrete | E23 | LS | 1 |  | 0
| C.12 | Supply and Install Anchor Units for Culvert Barrier Aluminum Top Rail | E23 | LS | 1 |  | 0
| C.13 | Concrete Heating and Hoarding | E23 | LS | 1 |  | 0
| C.14 | Board Insulation | E24
| i) | 75 mm Thick |  | m2 | 142 |  | 0
| C.15 | Supply and Install Culvert Barrier Aluminum Top Rail | E27 | m | 30 |  | 0
| C.16 | Hot-Poured Rubberized Asphalt Waterproofing | E28 | m2 | 73 |  | 0
| C.17 | Construction of Curb to Traffic Barrier Transition | E34 | m | 32 |  | 0
| C | Truro Creek at Linwood Street - Culvert Replacement |  |  |  | Subtotal: | 0
| D | Truro Creek at Linwood Street - Roadworks & Underground Works
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R19 | m³ | 160 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 665 |  | 0
A007 | D.3 | Crushed Sub-Base Material | CW 3110-R19
A007A | i) | 50 mm |  | tonne | 470 |  | 0
A010A | D.4 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 85 |  | 0
A012 | D.5 | Grading of Boulevards | CW 3110-R19 | m² | 450 |  | 0
A022 | D.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 665 |  | 0
A022A | D.7 | Supply and Install Geogrid | CW 3135-R1 | m² | 665 |  | 0
ROADWORKS - RENEWALS
B001 | D.8 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 710 |  | 0
B094 | D.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 60 |  | 0
B097 | D.10 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 60 |  | 0
B100r | D.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 70 |  | 0
B107i | D.12 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 20 |  | 0
B114rl | D.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m to 20 sq.m |  | m² | 30 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 120 |  | 0
| D.14 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 20 |  | 0
B199 | D.15 | Construction of Asphalt Patches | CW 3410-R11 | m² | 30 |  | 0
B200 | D.16 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 40 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | D.17 | Concrete Pavements, Median Slabs, Bull-Noses, and Safety Medians | CW 3310-R17
C011 | i) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 600 |  | 0
C032 | D.18 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 125 |  | 0
C036 | ii) | Construction of Modified Barrier (150 mm ht, Dowelled) | SD-203B | m | 16 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 21 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 5 |  | 0
JOINT AND CRACK SEALING
D001 | D.19 | Joint Sealing | CW 3250-R7 | m | 150 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.20 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E006 | D.21 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E008 | D.22 | Sewer Service | CW 2130-R12
E009 | i) | 300 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 14 |  | 0
E012 | D.23 | Drainage Connection Pipe | CW 2130-R12 | m | 8 |  | 0
E023 | D.24 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 2 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 2 |  | 0
E034 | D.25 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E036 | D.26 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 300 mm (Type PVC) Connecting Pipe
E039 | a) | Connecting to 375 mm Sewer |  | each | 1 |  | 0
E051 | D.27 | Installation of Subdrains | CW 3120-R4 | m | 12 |  | 0
ADJUSTMENTS
F001 | D.28 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
F002 | D.29 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-Cast Concrete Risers |  | vert. m | 0.5 |  | 0
F003 | D.30 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F009 | D.31 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | D.32 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | D.33 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | D.34 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F022 | D.35 | Raising of Existing Hydrant | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | D.36 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 450 |  | 0
G004 | D.37 | Seeding | CW 3520-R7 | m² | 125 |  | 0
MISCELLANEOUS
| D.38 | Removal of Existing Trees | E26 | each | 4 |  | 0
| D.39 | Removal of Wooden Pedestrian Bridge | E7 | LS | 1 |  | 0
UNDERGROUND WORKS
| D.40 | Existing Water Main Removal | CW 2110-R11 & E18 | m | 40 |  | 0
| D.41 | Connection to Existing Water Main | CW 2110-R11 & E17 & E19 | each | 2 |  | 0
| D.42 | Supply and Install New Water Main | CW 2110-R11 & E17 & E19
| i) | 150 dia.
| a) | In a Trench, Class B Bedding, Class 5 Backfill |  | m | 45 |  | 0
| D.43 | Supply and install Valves and Fittings | CW 2110-R11
| i) | 150 dia. PVC C900
| a) | 22.5° Bend |  | each | 4 |  | 0
| b) | 45° Bend |  | each | 4 |  | 0
| D | Truro Creek at Linwood Street - Roadworks & Underground Works |  |  |  | Subtotal: | 0
SUMMARY
| A | Truro Creek at Winchester Street - Culvert Replacement |  |  |  | Subtotal: | 0
| B | Truro Creek at Winchester Street - Roadworks & Underground Works |  |  |  | Subtotal: | 0
|  | TOTAL TRURO CREEK AT WINCHESTER STREET - ALL WORKS |  |  |  | Total: | 0
| C | Truro Creek at Linwood Street - Culvert Replacement |  |  |  | Subtotal: | 0
| D | Truro Creek at Linwood Street - Roadworks & Underground Works |  |  |  | Subtotal: | 0
|  | TOTAL TRURO CREEK AT LINWOODSTREET - ALL WORKS |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0