## FORM B - Quality Check
FORM B: PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | GENERAL
| A.1 | Mobilization and Demobilization | E5 | L.S. | 1 |  | 0
| A.2 | Hydro Excavation | E34 | hr | 10 |  | 0
| A | GENERAL |  |  |  | Subtotal: | 0
| B | DUBLIN AVENUE BRIDGE RECONSTRUCTION
BRIDGE WORKS
| B.1 | Creek Flow Maintenance | E8 | L.S. | 1 |  | 0
| B.2 | Floating Turbidity Barrier | E8 | m | 40 |  | 0
| B.3 | Creek Bank Excavation | E9 | L.S. | 1 |  | 0
| B.4 | Bridge Demolition | E18 | L.S. | 1 |  | 0
| B.5 | Temporary Shoring | E20 | L.S. | 1 |  | 0
| B.6 | Structural Excavation | E20 | L.S. | 1 |  | 0
| B.7 | Supply and Install Silt Fence Barrier | E21 | m | 100 |  | 0
| B.8 | Structural Backfill | E23 | L.S. | 1 |  | 0
| B.9 | Piling Mobilization and Demobilization | E22 | L.S. | 1 |  | 0
| B.10 | Supply Steel Piles | E22 | m | 390 |  | 0
| B.11 | Drive Steel Piles | E22 | m | 390 |  | 0
| B.12 | PDA Testing | E22 | each | 2 |  | 0
| B.13 | Supply Black Reinforcing Steel | E25 | kg | 12561 |  | 0
| B.14 | Supply Stainless Reinforcing Steel | E25 | kg | 48909 |  | 0
| B.15 | Place Black Reinforcing Steel | E25 | kg | 12561 |  | 0
| B.16 | Place Stainless Reinforcing Steel | E25 | kg | 48909 |  | 0
| B.17 | Structural Concrete | E26 |  |  |  | 0
| i) | Abutments |  | L.S. | 1 |  | 0
| ii) | Wingwalls |  | L.S. | 1 |  | 0
| iii) | Deck Slab |  | L.S. | 1 |  | 0
| iv) | Approach Slabs |  | L.S. | 1 |  | 0
| v) | Transition Slabs |  | L.S. | 1 |  | 0
| vi) | Sidewalks |  | L.S. | 1 |  | 0
| vii) | Barriers |  | L.S. | 1 |  | 0
| B.18 | Supply and Install Erosion control Blanket | E32 | m² | 470 |  | 0
| B.19 | Supply and Install Bridge Aluminum Barrier Rail | E27 | L.S. | 1 |  | 0
| B.20 | Class 250 - Random Stone Riprap and Geotextile | E24 | m³ | 210 |  | 0
| B.21 | Class 350 - Random Stone Riprap and Geotextile | E24 | m³ | 75 |  | 0
| B.22 | Supply and Install Chain Link Fence | E29 | m | 17 |  | 0
| B.23 | Remove Bumper Fence | E29 | m | 10 |  | 0
| B.24 | Natural Seeding | E30 | m² | 470 |  | 0
| B.25 | Weed Control | E30 | m² | 470 |  | 0
PROVISIONAL ITEMS
| B.26 | Steel H-Pile Splice | E22 | each | 12 |  | 0
| B | DUBLIN AVENUE BRIDGE RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | DUBLIN AVENUE - ST. JAMES STREET TO NOTRE DAME AVENUE - CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R19 | m³ | 11600 |  | 0
| C.2 | Excavation of Contaminated Soils For Roadway Construction | E36 | m³ | 100 |  | 0
A004 | C.3 | Sub-Grade Compaction | CW 3110-R19 | m² | 13100 |  | 0
A007 | C.4 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 5280 |  | 0
A008C | ii) | 100 mm - Limestone |  | tonne | 11620 |  | 0
A010A | C.5 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 1100 |  | 0
A012 | C.6 | Grading of Boulevards | CW 3110-R19 | m² | 1000 |  | 0
A022 | C.7 | Separation Geotextile Fabric | CW 3130-R4 | m² | 13100 |  | 0
A022A | C.8 | Supply and Install Geogrid | CW 3135-R1 | m² | 13100 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.9 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement (Up to 350mm Thick) |  | m² | 11700 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 350 |  | 0
B094 | C.10 | Drilled Dowels | CW 3230-R8, E44
B096 | i) | 28.6 mm Diameter |  | each | 350 |  | 0
B097 | C.11 | Drilled Tie Bars | CW 3230-R8, E44
B098 | i) | 20 M Deformed Tie Bar |  | each | 300 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 300 |  | 0
B100r | C.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 60 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 2860 |  | 0
B105r | iiii) | Bullnose |  | m² | 5 |  | 0
B114rl | C.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | iv) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 35 |  | 0
B154rl | C.14 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A |  | 30 |  | 0
B184rl | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 15 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 15 |  | 0
B200 | C.15 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 50 |  | 0
B219 | C.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 26 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.17 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 9240 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 140 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
C014 | iv) | Construction of Concrete Median Slabs | SD-227A | m² | 50 |  | 0
C018 | v) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 5 |  | 0
C019 | C.18 | Concrete Pavements for Early Opening | CW 3310-R17
C025 | i) | Construction of 230 mm Concrete Pavement for Early Opening 72 hour (Plain-Dowelled) |  | m² | 1100 |  | 0
C026 | ii) | Construction of 200 mm Concrete Pavement for Early Opening 72 hour (Reinforced) |  | m² | 1225 |  | 0
| iii) | Construction of 300 mm Concrete Pavement for Early Opening 72 hour (Reinforced) c/w Block-out for Paving Band | E38 | m² | 125 |  | 0
C032 | C.19 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C035 | i) | Construction of Barrier (180 mm ht, Integral) Slip Form Paving | SD-204 | m | 1245 |  | 0
C035 | ii) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 100 |  | 0
C036 | iii) | Construction of Modified Barrier (150 mm ht, Dowelled) | SD-203B | m | 20 |  | 0
C037 | iv) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 100 |  | 0
C046 | v) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 195 |  | 0
| vi) | Construction of Retaining Curb (200 mm ht, Separate) | E39 | m | 20 |  | 0
| vii) | Construction of Retaining Curb (400 mm ht, Separate) | E39 | m | 140 |  | 0
C050 | C.20 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 3360 |  | 0
| C.21 | 100 mm Concrete Sidewalk c/w Block-out for Paving Band | CW 3325-R5, E38 | m² | 2860 |  | 0
C052 | C.22 | Interlocking Paving Stones | CW 3330-R5
| i) | Sidewalk Paving Band - 200x200x60 Charcoal Holland Concrete Pavers | E33 | m² | 300 |  | 0
| ii) | Approach Paving Band - 200x200x80 Charcoal Holland Concrete Pavers | E33 | m² | 10 |  | 0
C055 | C.23 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 200 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.24 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 2 |  | 0
E004 | ii) | SD-024, 1500 mm deep |  | each | 5 |  | 0
E004A | iii) | SD-024, 1800 mm deep |  | each | 7 |  | 0
E008 | C.25 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with sand, Class 3 Backfill |  | m | 80 |  | 0
E011 | b) | Trenchless Installation, Class B bedding with sand Class 3 Backfill |  | m | 30 |  | 0
E013 | C.26 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 2.8 |  | 0
E023 | C.27 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 10 |  | 0
E036 | C.28 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete Sewer |  | each | 8 |  | 0
E041B | b) | Connecting to 750 mm Concrete Sewer |  | each | 2 |  | 0
E041B | c) | Connecting to 900 mm Concrete Sewer |  | each | 4 |  | 0
| C.29 | Supply and Install Sewer Service Outlet Restrictor | SD-025B, E40
| i) | 150mm |  | each | 2 |  | 0
| ii) | 200mm |  | each | 5 |  | 0
E046 | C.30 | Removal of Existing Catch Basins | CW 2130-R12 | each | 9 |  | 0
E047 | C.31 | Removal of Existing Catch Pit | CW 2130-R12 | each | 15 |  | 0
| C.32 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250mm or smaller) |  | each | 15 |  | 0
E051 | C.33 | Installation of Subdrains | CW 3120-R4 | m | 500 |  | 0
E072 | C.34 | Watermain and Water Service Insulation | E42
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 800 |  | 0
| ii) | Surrounding New Catch Basins |  | m² | 50 |  | 0
ADJUSTMENTS
F001 | C.35 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 11 |  | 0
F002 | C.36 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | C.37 | Lifter Rings (AP-010) | CW 3210-R8
F005 | ii) | 51 mm |  | each | 4 |  | 0
F009 | C.38 | Adjustment of Valve Boxes | CW 3210-R8 | each | 11 |  | 0
F010 | C.39 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F019 | C.40 | Relocating Existing Hydrant - Type A | CW 2110-R11 | each | 3 |  | 0
LANDSCAPING
G001 | C.41 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 430 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 50 |  | 0
MISCELLANEOUS
| C.42 | Timber Bumper Fence | E29 | m | 40 |  | 0
| C | DUBLIN AVENUE - ST. JAMES STREET TO NOTRE DAME AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | ST. JAMES STREET - SASKATCHEWAN AVENUE TO 100M NORTH OF DUBLIN AVENUE - MAJOR REHABILITATION
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R19 | m³ | 350 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 1100 |  | 0
A007 | D.3 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 100 |  | 0
A010 | D.4 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 10 |  | 0
A012 | D.5 | Grading of Boulevards | CW 3110-R19 | m² | 250 |  | 0
A022 | D.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 30 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.7 | Pavement Removal | CW 3110-R19
B003 | i) | Asphalt Pavement |  | m² | 300 |  | 0
B064-72 | D.8 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Concrete Pavement (Reinforced) |  | m² | 845 |  | 0
B077-72 | D.9 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 20 |  | 0
B087-72 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 350 |  | 0
B088-72 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 40 |  | 0
B089-72 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 125 |  | 0
B094 | D.10 | Drilled Dowels | CW 3230-R8, E41
B095 | i) | 19.1 mm Diameter |  | each | 2060 |  | 0
B097 | D.11 | Drilled Tie Bars | CW 3230-R8, E41
B098 | i) | 20 M Deformed Tie Bar |  | each | 875 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 670 |  | 0
B100r | D.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1460 |  | 0
B154rl | D.13 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (125 mm reveal ht, Dowelled) Slip Form Paving | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 10 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 240 |  | 0
B158rl | c) | Greater than 30 m |  | m | 880 |  | 0
B167rl | ii) | Modified Barrier (125 mm reveal ht, Dowelled) | SD-203B | m | 50 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 110 |  | 0
B188 | D.14 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 35 |  | 0
B190 | D.15 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 2150 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 300 |  | 0
B200 | D.16 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 11275 |  | 0
B219 | D.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 8 |  | 0
ROADWORKS - NEW CONSTRUCTION
| D.18 | 100 mm Concrete Sidewalk c/w Block-out for Paving Band | CW 3325-R5, E38 | m² | 2550 |  | 0
C052 | D.19 | Interlocking Paving Stones | CW 3330-R5
| i) | Sidewalk Paving Band - 200x200x60 Charcoal Holland Concrete Pavers | E33 | m² | 206 |  | 0
C032 | D.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C046 | i) | Construction of Curb Ramp (8-12 mm ht, monolithic) | SD-229C | m | 55 |  | 0
| ii) | Construction of Retaining Curb (150 mm ht, Separate) | E39 | m | 30 |  | 0
| iii) | Construction of Retaining Curb (300 mm ht, Separate) | E39 | m | 80 |  | 0
| iv) | Construction of Retaining Curb (400 mm ht, Separate) | E39 | m | 85 |  | 0
JOINT AND CRACK SEALING
D005 | D.21 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 200 |  | 0
D006 | D.22 | Reflective Crack Maintenance | CW 3250-R7 | m | 1000 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.23 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 7 |  | 0
E006 | D.24 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 6 |  | 0
E007A | D.25 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 5 |  | 0
E008 | D.26 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with sand, Class 3 Backfill |  | m | 80 |  | 0
E011 | b) | Trenchless Installation, Class B bedding with sand Class 3 Backfill |  | m | 30 |  | 0
E017 | D.27 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 4 |  | 0
E022A | D.28 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 30 |  | 0
E023 | D.29 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 2 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 2 |  | 0
E034 | D.30 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 7 |  | 0
E036 | D.31 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete Sewer |  | each | 1 |  | 0
E041B | b) | Connecting to 600 mm Concrete Sewer |  | each | 6 |  | 0
| D.32 | Supply and Install Sewer Service Outlet Restrictor | SD-025B, E40
| i) | 150mm |  | each | 1 |  | 0
| ii) | 200mm |  | each | 10 |  | 0
E042 | D.33 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 5 |  | 0
E046 | D.34 | Removal of Existing Catch Basins | CW 2130-R12 | each | 7 |  | 0
E047 | D.35 | Removal of Existing Catch Pit | CW 2130-R12 | each | 4 |  | 0
| D.36 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250mm or smaller) |  | each | 1 |  | 0
ADJUSTMENTS
F001 | D.37 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 16 |  | 0
F002 | D.38 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | D.39 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 3 |  | 0
F006 | ii) | 64 mm |  | each | 3 |  | 0
F007 | iii) | 76 mm |  | each | 10 |  | 0
F009 | D.40 | Adjustment of Valve Boxes | CW 3210-R8 | each | 7 |  | 0
F010 | D.41 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F019 | D.42 | Relocating Existing Hydrant - Type A | CW 2110-R11 | each | 3 |  | 0
LANDSCAPING
G001 | D.43 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 250 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 50 |  | 0
| D | ST. JAMES STREET - SASKATCHEWAN AVENUE TO 100M NORTH OF DUBLIN AVENUE - MAJOR REHABILITATION |  |  |  | Subtotal: | 0
| E | ST. JAMES STREET - BANGOR AVENUE TO NOTRE DAME AVENUE - MILL AND FILL
EARTH AND BASE WORKS
A003 | E.1 | Excavation | CW 3110-R19 | m³ | 100 |  | 0
A004 | E.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 525 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | E.3 | Pavement Removal | CW 3110-R19
B003 | i) | Asphalt Pavement |  | m² | 20 |  | 0
B064-72 | E.4 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Concrete Pavement (Reinforced) |  | m² | 30 |  | 0
B077-72 | E.5 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B087-72 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 50 |  | 0
B089-72 | iii) | 200 mm Concrete Pavement (Type D) |  | m² | 90 |  | 0
B094 | E.6 | Drilled Dowels | CW 3230-R8, E41
B095 | i) | 19.1 mm Diameter |  | each | 170 |  | 0
B097 | E.7 | Drilled Tie Bars | CW 3230-R8, E41
B098 | i) | 20 M Deformed Tie Bar |  | each | 50 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 60 |  | 0
B114rl | E.8 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 160 |  | 0
B135i | E.9 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (125 mm reveal ht, Dowelled) | SD-205 | m | 20 |  | 0
B154rl | E.10 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Barrier (125 mm reveal ht, Dowelled) Slip Form Paving | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 10 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 55 |  | 0
B158rl | c) | Greater than 30 m |  | m | 260 |  | 0
B184rlA | iii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 66 |  | 0
B190 | E.11 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 950 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 90 |  | 0
B200 | E.12 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 5550 |  | 0
B206 | E.13 | Pavement Repair Fabric | E15 | m² | 250 |  | 0
B219 | E.14 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 10 |  | 0
ROADWORKS - NEW CONSTRUCTION
| E.15 | 100 mm Concrete Sidewalk c/w Block-out for Paving Band | CW 3325-R5, E38 | m² | 525 |  | 0
C052 | E.16 | Interlocking Paving Stones | CW 3330-R5
| i) | Sidewalk Paving Band - 200x200x60 Charcoal Holland Concrete Pavers | E33 | m² | 40 |  | 0
JOINT AND CRACK SEALING
D005 | E.17 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 350 |  | 0
D006 | E.18 | Reflective Crack Maintenance | CW 3250-R7 | m | 100 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E006 | E.19 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 2 |  | 0
E007A | E.20 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 1 |  | 0
E007C | ii) | SD-025 |  | each | 2 |  | 0
E008 | E.21 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with sand, Class 3 Backfill |  | m | 12 |  | 0
E012 | E.22 | Drainage Connection Pipe | CW 2130-R12 | m | 7 |  | 0
E022A | E.23 | Sewer Inspection ( following repair) | CW 2145-R4
E022C | i) | 200 mm, PVC |  | m | 1 |  | 0
E034 | E.24 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 2 |  | 0
E036 | E.25 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041A | e) | Connecting to 600 mm Sewer |  | each | 1 |  | 0
E042 | E.26 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 200 mm |  | each | 1 |  | 0
E042 | E.27 | Connecting Catch Basin to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E044 | E.28 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
| E.29 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250mm or smaller) |  | each | 1 |  | 0
| E.30 | Supply and Install Sewer Service Outlet Restrictor | SD-025B, E40
| i) | 150mm |  | each | 3 |  | 0
| ii) | 200mm |  | each | 1 |  | 0
E072 | C.31 | Watermain and Water Service Insulation | E42
| ii) | Surrounding New Catch Basins |  | m² | 18 |  | 0
ADJUSTMENTS
F001 | E.32 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F003 | E.33 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 9 |  | 0
F010 | E.34 | Valve Box Extensions | CW 3210-R8 | each | 7 |  | 0
F022 | E.35 | Raising of Existing Hydrant | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | E.36 | Sodding | CW 3510-R9
G003 | i) | width > or = 600 mm |  | m² | 450 |  | 0
| E | ST. JAMES STREET - BANGOR AVENUE TO NOTRE DAME AVENUE - MILL AND FILL |  |  |  | Subtotal: | 0
| F | WATER AND WASTE WORK
LOCATION - WORK DESC. (W&W Asset # MA20011670)
E017 | F.1 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017M | i) | 600 mm
E017N | a) | Class 3 Backfill |  | each | 2 |  | 0
E022A | F.2 | Sewer Inspection ( following repair) | CW 2145-R4
E022H | i) | 600 mm, Combined Sewer |  | m | 92 |  | 0
E036 | F.3 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 150 mm Sewer Service Connecting Pipe
E038 | a) | Connecting to 600 mm Concrete Combined Sewer |  | each | 1 |  | 0
LOCATION - WORK DESC. (W&W Asset # MA20011697)
E017 | F.4 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | F.5 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm, Combined Sewer |  | m | 35 |  | 0
LOCATION - WORK DESC. (W&W Asset # MA70039558)
E017 | F.6 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | F.7 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020G | i) | 300 mm
E020H | a) | Class 3 Backfill |  | m | 12 |  | 0
E036 | F.8 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 300 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete Combined Sewer |  | each | 1 |  | 0
E022A | F.9 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm, Combined Sewer |  | m | 38 |  | 0
LOCATION - WORK DESC. (W&W Asset # MA20011692)
E017 | F.10 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017N | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | F.11 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm, Combined Sewer |  | m | 101 |  | 0
E036 | E.12 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 150 mm Sewer Service Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete Combined Sewer |  | each | 1 |  | 0
LOCATION - WORK DESC. (W&W Asset # MH20010677 )
| F.13 | Patching Existing Manholes | CW 2130-R12 | vert. m | 0.6 |  | 0
LOCATION - WORK DESC. (W&W Asset # MH20010669)
| F.14 | Patching Existing Manholes | CW 2130-R12 | vert. m | 0.3 |  | 0
LOCATION - WORK DESC. (W&W Asset # MH20010645)
| F.15 | Patching Existing Manholes | CW 2130-R12 | vert. m | 1 |  | 0
LOCATION - WORK DESC. (W&W Asset # MA70039983)
E017 | F.16 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | F.17 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020G | i) | 300 mm
E020H | a) | Class 3 Backfill |  | m | 12 |  | 0
E036 | F.18 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 300 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 250 mm Sewer |  | each | 1 |  | 0
E022A | F.19 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm, Combined Sewer |  | m | 38 |  | 0
| F | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
SUMMARY
| A | GENERAL |  |  |  | Subtotal: | 0
| B | DUBLIN AVENUE BRIDGE RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | DUBLIN AVENUE - ST. JAMES STREET TO NOTRE DAME AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | ST. JAMES STREET - SASKATCHEWAN AVENUE TO 100M NORTH OF DUBLIN AVENUE - MAJOR REHABILITATION |  |  |  | Subtotal: | 0
| E | ST. JAMES STREET - BANGOR AVENUE TO NOTRE DAME AVENUE - MILL AND FILL |  |  |  | Subtotal: | 0
| F | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on C80: Pheifer, Henly: old version has 0 - 50
Note on E120: Pheifer, Henly: old version has vert m ( no period)