## 917-2020_Form B-Prices
FORM B: PRICES (R1)
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | 2021 MUNROE AVENUE PAVEMENT RENEWAL - HENDERSON HIGHWAY TO WATT STREET
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 7935 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 11940 |  | 0
A005 | A.3 | Supplying and Placing Suitable Site Sub-grade Material | CW 3110-R21 | m³ | 500 |  | 0
A007 | A.4 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 5305 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 10480 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1370 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R21 | m² | 5715 |  | 0
A022 | A.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 12480 |  | 0
A022A4 | A.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 11940 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.9 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 10482 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 200 |  | 0
B094 | A.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 90 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 50 |  | 0
B097 | A.11 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 75 |  | 0
B100r | A.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2803.5 |  | 0
B114rl | A.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 25 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 45 |  | 0
B124 | A.14 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 55 |  | 0
B125 | A.15 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 20 |  | 0
B125A | A.16 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 20 |  | 0
B154rl | A.17 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rlA2 | b) | 3 m to 30 m |  | m | 20 |  | 0
B170rlB | ii) | Curb and Gutter (180 mm reveal ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200
B170rlB1 | a) | Less than 3 m |  | m | 10 |  | 0
B170rlB2 | b) | 3 m to 30 m |  | m | 10 |  | 0
B189 | A.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B190 | A.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 50 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 40 |  | 0
B200 | A.20 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 135 |  | 0
B219 | A.21 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 27 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.22 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 8775.5 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 745 |  | 0
C011 | iii) | Construction of 150 mm Concrete Pavement (Reinforced) |  | m² | 82.5 |  | 0
C019 | A.23 | Concrete Pavements for Early Opening | CW 3310-R17
C025-24 | i) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled), Slip Form Paving |  | m² | 355 |  | 0
C025-24 | ii) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 571.5 |  | 0
C025-72 | iii) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 542 |  | 0
C026-24 | iv) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 130.5 |  | 0
C026-72 | v) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 50 |  | 0
C029-24 | vi) | Construction of 150 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 163 |  | 0
C029-72 | vii) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 237 |  | 0
C032 | A.24 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C035B | i) | Construction of Barrier (180 mm ht, Integral), Slip Form Paving | SD-204 | m | 1340 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 170 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 266 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 130 |  | 0
C047 | v) | Construction of Safety Curb (230 mm ht) | SD-206B | m | 13 |  | 0
C050 | A.25 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 2285 |  | 0
C051 | A.26 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 3095 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.27 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 18 |  | 0
E008 | A.28 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 100 |  | 0
E023 | A.29 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0
E032 | A.30 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 6 |  | 0
E036 | A.31 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E041B | a) | Connecting to 1950 mm x 2925 mm (Type Concrete) Sewer |  | each | 4 |  | 0
E041B | b) | Connecting to 2050 mm x 3075 mm (Type Concrete) Sewer |  | each | 6 |  | 0
E041B | c) | Connecting to 2075 mm x 3150 mm (Type Concrete) Sewer |  | each | 2 |  | 0
E046 | A.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 18 |  | 0
E050 | A.33 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 14 |  | 0
E051 | A.34 | Installation of Subdrains | CW 3120-R4 | m | 216 |  | 0
E072 | A.35 | Watermain and Water Service Insulation | E14
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 780 |  | 0
ADJUSTMENTS
F001 | A.36 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F002 | A.37 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 5 |  | 0
F003 | A.38 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 7 |  | 0
F009 | A.39 | Adjustment of Valve Boxes | CW 3210-R8 | each | 22 |  | 0
F010 | A.40 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | A.41 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | A.42 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F022 | A.43 | Raising of Existing Hydrant | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | A.44 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 515 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 5200 |  | 0
MISCELLANEOUS
| A.45 | Adjustment of Sprinkler Head and/or Drainage Pipe | E19 | each | 5 |  | 0
| A.46 | Replace Existing Sprinkler Pipe | E19 | m | 1 |  | 0
| A.47 | Tree Removal | E16 | each | 5 |  | 0
| A.48 | Remove and Replace Bollard | E17 | each | 5 |  | 0
| A | 2021 MUNROE AVENUE PAVEMENT RENEWAL - HENDERSON HIGHWAY TO WATT STREET |  |  |  | Subtotal: | 0
| B | 2021 WATT STREET PAVEMENT WIDENING & ASPHALT RESURFACING - MUNROE AVENUE TO APPROX. 65m NORTH OF MUNROE AVENUE
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R21 | m³ | 70 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 227 |  | 0
A007 | B.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 100 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 20 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R21 | m² | 45 |  | 0
A022 | B.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 227 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.7 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 38 |  | 0
B047-24 | B.8 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B061-24 | i) | 150 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B094 | B.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 25 |  | 0
B097 | B.10 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 145 |  | 0
B100r | B.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 100.5 |  | 0
B190 | B.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 75 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 10 |  | 0
B200 | B.13 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 615 |  | 0
B206 | B.14 | Pavement Repair Fabric | E13 | m² | 615 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | B.15 | Concrete Pavements for Early Opening | CW 3310-R17
C029-72 | i) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 220 |  | 0
C032 | B.16 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C035B | i) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 92 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 5 |  | 0
C046 | iii) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 5 |  | 0
C051 | B.17 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 185 |  | 0
C055 | B.18 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 125 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 10 |  | 0
JOINT AND CRACK SEALING
D006 | B.19 | Reflective Crack Maintenance | CW 3250-R7 | m | 275 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.20 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
E008 | B.21 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 15 |  | 0
E036 | B.22 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E041B | a) | Connecting to 1350 mm (Type Concrete) Sewer |  | each | 2 |  | 0
E046 | B.23 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
E051 | B.24 | Installation of Subdrains | CW 3120-R4 | m | 20 |  | 0
ADJUSTMENTS
F020 | B.25 | Relocating Existing Hydrant - Type B | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | B.26 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 45 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 10 |  | 0
| B | 2021 WATT STREET PAVEMENT WIDENING & ASPHALT RESURFACING - MUNROE AVENUE TO APPROX. 65m NORTH OF MUNROE AVENUE |  |  |  | Subtotal: | 0
| C | 2021 WATT STREET PAVEMENT RENEWAL - MUNROE AVENUE TO APPROX. 40m SOUTH OF MUNROE AVENUE
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R21 | m³ | 207 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 297.5 |  | 0
A007 | C.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 152.5 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 262.5 |  | 0
A010 | C.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 57 |  | 0
A012 | C.5 | Grading of Boulevards | CW 3110-R21 | m² | 25 |  | 0
A022 | C.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 331.5 |  | 0
A022A4 | C.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 297.5 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.8 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 350.5 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 335 |  | 0
B094 | C.9 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 50 |  | 0
B100r | C.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 60.5 |  | 0
B126r | C.11 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Dowelled |  | m | 21.5 |  | 0
B154rl | C.12 | Concrete Curb Renewal | CW 3240-R10
B155rlB | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlB1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rlB2 | b) | 3 m to 30 m |  | m | 5 |  | 0
B190 | C.13 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 10 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 207.5 |  | 0
C017 | ii) | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 127 |  | 0
C019 | C.15 | Concrete Pavements for Early Opening | CW 3310-R17
C022-24 | i) | Construction of 250 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled), Slip Form Paving |  | m² | 207.5 |  | 0
C022-24 | ii) | Construction of 250 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 71.5 |  | 0
C026-72 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 64.5 |  | 0
C032 | C.16 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C037B | i) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 9.5 |  | 0
C045 | ii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 12.5 |  | 0
C046 | iii) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 14.5 |  | 0
C050 | C.17 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 86 |  | 0
LANDSCAPING
G001 | C.18 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 25 |  | 0
MISCELLANEOUS
| C.19 | MMA Markings | E15 | m² | 15 |  | 0
| C | 2021 WATT STREET PAVEMENT RENEWAL - MUNROE AVENUE TO APPROX. 40m SOUTH OF MUNROE AVENUE |  |  |  | Subtotal: | 0
| D | 2022 MUNROE AVENUE PAVEMENT RENEWAL - WATT STREET TO RALEIGH STREET
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R21 | m³ | 5688.5 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 8497.5 |  | 0
A005 | D.3 | Supplying and Placing Suitable Site Sub-grade Material | CW 3110-R21 | m³ | 250 |  | 0
A007 | D.4 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 3865 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 7495 |  | 0
A010 | D.5 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 980 |  | 0
A012 | D.6 | Grading of Boulevards | CW 3110-R21 | m² | 3190 |  | 0
A022 | D.7 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 8910 |  | 0
A022A4 | D.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 8497.5 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.9 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 7730 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 250 |  | 0
B094 | D.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 45 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 50 |  | 0
B097 | D.11 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 130 |  | 0
B100r | D.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1955 |  | 0
B126r | D.13 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Dowelled |  | m | 25 |  | 0
B154rl | D.14 | Concrete Curb Renewal | CW 3240-R10
B155rlB | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlB1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rlB2 | b) | 3 m to 30 m |  | m | 10 |  | 0
B189 | D.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 25 |  | 0
B190 | D.16 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 10 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 25 |  | 0
B200 | D.17 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 95 |  | 0
B219 | D.18 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 10 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | D.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 5160 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 710 |  | 0
C019 | D.20 | Concrete Pavements for Early Opening | CW 3310-R17
C025-24 | i) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled), Slip Form Paving |  | m² | 1137.5 |  | 0
C025-72 | ii) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 550 |  | 0
C026-24 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 500 |  | 0
C026-72 | iv) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 265 |  | 0
C032 | D.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C035B | i) | Construction of Barrier (180 mm ht, Integral), Slip Form Paving | SD-204 | m | 811 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 234.5 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 170.5 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 95 |  | 0
C050 | D.22 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1655 |  | 0
C051 | D.23 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 2069 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.24 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 14 |  | 0
E008 | D.25 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 35 |  | 0
E023 | D.26 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 3 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
E032 | D.27 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E036 | D.28 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E041B | a) | Connecting to 2100 mm (Type Concrete) Sewer |  | each | 8 |  | 0
E041B | b) | Connecting to 2125 mm (Type Concrete) Sewer |  | each | 2 |  | 0
E041B | c) | Connecting to 2075 mm x 3150 mm (Type Concrete) Sewer |  | each | 2 |  | 0
E046 | D.29 | Removal of Existing Catch Basins | CW 2130-R12 | each | 14 |  | 0
E050 | D.30 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 3 |  | 0
E051 | D.31 | Installation of Subdrains | CW 3120-R4 | m | 168 |  | 0
E072 | D.32 | Watermain and Water Service Insulation | E14
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 132.5 |  | 0
ADJUSTMENTS
F001 | D.33 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F002 | D.34 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2.5 |  | 0
F003 | D.35 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 3 |  | 0
F009 | D.36 | Adjustment of Valve Boxes | CW 3210-R8 | each | 18 |  | 0
F010 | D.37 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | D.38 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | D.39 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F022 | D.40 | Raising of Existing Hydrant | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | D.41 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 400 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2790 |  | 0
| D | 2022 MUNROE AVENUE PAVEMENT RENEWAL - WATT STREET TO RALEIGH STREET |  |  |  | Subtotal: | 0
| E | 2021 MUNROE AVENUE & BRAZIER STREET WATER MAIN RENEWALS
MUNROE AVENUE
| E.1 | Watermain Renewals | CW 2110-R11
| i) | 300 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 61 |  | 0
| b) | Trenchless Installation, Class B Sand Bedding, Class 5 Backfill |  | m | 393 |  | 0
| E.2 | Hydrant Assemby | CW 2110-R11
| i) | SD-007 |  | each | 6 |  | 0
| E.3 | Watermain Valve | CW 2110-R11
| i) | 300 mm |  | each | 5 |  | 0
| E.4 | Fittings | CW 2110-R11
| i) | Tees
| a) | 300 mm x 300 mm x 300 mm |  | each | 1 |  | 0
| ii) | Crosses
| a) | 300 mm x 300 mm x 200 mm x 200 mm |  | each | 1 |  | 0
| E.5 | Water Services | CW 2110-R11
| i) | 19 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 60 |  | 0
| ii) | 38 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
| E.6 | Corporation Stops | CW 2110-R11
| i) | 19 mm |  | each | 59 |  | 0
| ii) | 38 mm |  | each | 2 |  | 0
| E.7 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-Line Connection - No Plug Existing
| a) | 300 mm |  | each | 3 |  | 0
| E.8 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11
| i) | 19 mm |  | each | 59 |  | 0
| ii) | 38 mm |  | each | 2 |  | 0
| E.9 | 10.9 Kilogram Sacrifical Zinc Anodes | CW 2110-R11
| i) | On Metallic Watermains |  | each | 2 |  | 0
| E.10 | Continuity Bonding |  | each | 61 |  | 0
BRAZIER STREET
| E.11 | Watermain Renewals | CW 2110-R11
| i) | 200 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 23 |  | 0
| b) | Trenchless Installation, Class B Sand Bedding, Class 5 Backfill |  | m | 99 |  | 0
| E.12 | Hydrant Assemby | CW 2110-R11
| i) | SD-007 |  | each | 1 |  | 0
| E.13 | Watermain Valve | CW 2110-R11
| i) | 200 mm |  | each | 1 |  | 0
| E.14 | Fittings | CW 2110-R11
| i) | Bends (SD-004)
| a) | 200 mm - 45° |  | each | 2 |  | 0
| E.15 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-Line Connection - No Plug Existing
| a) | 200 mm |  | each | 2 |  | 0
| E.16 | 10.9 Kilogram Sacrifical Zinc Anodes | CW 2110-R11
| i) | On Metallic Watermains |  | each | 1 |  | 0
|  | PROVISIONAL ITEMS | E24
| E.17 | Cement Stabilized Fill | CW 2030-R7, CW 2160-R7 | m3 | 15 |  | 0
| E.18 | Temporary Surface Restoration | E25
| i) | Street Pavement |  | m | 20 |  | 0
| ii) | Sidewalk |  | m | 20 |  | 0
| E.19 | Curb Stop | CW 2110-R11
| i) | 19 mm |  | each | 5 |  | 0
| ii) | 38 mm |  | each | 1 |  | 0
| E.20 | Curb Stop Boxes | CW 2110-R11
| i) | 19 mm |  | each | 5 |  | 0
| ii) | 38 mm |  | each | 1 |  | 0
| E.21 | Regrading of Existing Sewer Service - Up to 1.5 metres Long | CW 2110-R11
| i) | 19 mm |  | each | 5 |  | 0
| E | 2021 MUNROE AVENUE & BRAZIER STREET WATER MAIN RENEWALS |  |  |  | Subtotal: | 0
| F | 2021 TRAFFIC SIGNALS WORK
HENDERSON HIGHWAY & MUNROE AVENUE
| F.1 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620, E23 | m | 60 |  | 0
| ii) | Installation of Conduit - Double | CW 3620, E23 | m | 100 |  | 0
| F.2 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD315A. E21 | each | 2 |  | 0
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315C, E21 | each | 1 |  | 0
| iii) | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| F.3 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-321, E22 | each | 4 |  | 0
| F.4 | Removal of Concrete Bases
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 3 |  | 0
| ii) | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| F.5 | Miscellaneous
| i) | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| ii) | Cutovers | CW 3620 | each | 3 |  | 0
BRAZIER STREET & MUNROE AVENUE
| F.6 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620, E23 | m | 40 |  | 0
| ii) | Installation of Conduit - Double | CW 3620, E23 | m | 200 |  | 0
| F.7 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD315A. E21 | each | 2 |  | 0
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315C, E21 | each | 4 |  | 0
| iii) | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| F.8 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-321, E22 | each | 4 |  | 0
| F.9 | Removal of Concrete Bases
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 11 |  | 0
| ii) | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| F.10 | Miscellaneous
| i) | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| ii) | Cutovers | CW 3620 | each | 1 |  | 0
ROCH STREET & MUNROE AVENUE
| F.11 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620, E23 | m | 100 |  | 0
| ii) | Installation of Conduit - Double | CW 3620, E23 | m | 200 |  | 0
| F.12 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD315A. E21 | each | 6 |  | 0
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315C, E21 | each | 1 |  | 0
| iii) | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| F.13 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-321, E22 | each | 5 |  | 0
| F.14 | Removal of Concrete Bases
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 10 |  | 0
| ii) | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| F.15 | Miscellaneous
| i) | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| ii) | Cutovers | CW 3620 | each | 1 |  | 0
WATT STREET & MUNROE AVE
| F.16 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620, E23 | m | 110 |  | 0
| ii) | Installation of Conduit - Double | CW 3620, E23 | m | 240 |  | 0
| F.17 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315C, E21 | each | 8 |  | 0
| ii) | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| F.18 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-321, E22 | each | 5 |  | 0
| F.19 | Removal of Concrete Bases
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 8 |  | 0
| ii) | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| F.20 | Miscellaneous
| i) | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| ii) | Cutovers | CW 3620 | each | 2 |  | 0
| F | 2021 TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
| G | 2022 TRAFFIC SIGNALS WORK
RALEIGH STREET & MUNROE AVE
| G.1 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620, E23 | m | 30 |  | 0
| ii) | Installation of Conduit - Double | CW 3620, E23 | m | 100 |  | 0
| G.2 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD315A. E21 | each | 2 |  | 0
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315C, E21 | each | 2 |  | 0
| G.3 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-321, E22 | each | 3 |  | 0
| G.4 | Removal of Concrete Bases
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 5 |  | 0
| G.5 | Miscellaneous
| i) | Cutovers | CW 3620 | each | 2 |  | 0
| G | 2022 TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D13.2-3, D14.4)
| H | 2021 MUNROE AVENUE - HENDERSON HIGHWAY TO WATT STREET
| H.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances. | E27 | each | 14 |  | 0
| H.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E27 | m | 1013 |  | 0
| H.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E27 | each | 14 |  | 0
| H.4 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E27 | each | 7 |  | 0
| H.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E27 | each | 18 |  | 0
| H.6 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary feed. | E27 | per span | 20 |  | 0
| H.7 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary feed. | E27 | per span | 20 |  | 0
| H.8 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E27 | each | 6 |  | 0
| H.9 | Install / lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E27 | each | 2 |  | 0
| H.10 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E27 | each | 10 |  | 0
| H | 2021 MUNROE AVENUE - HENDERSON HIGHWAY TO WATT STREET |  |  |  | Subtotal: | 0
| I | MOBILIZATION /DEMOLIBIZATION
I001 | I.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| I | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | 2021 MUNROE AVENUE PAVEMENT RENEWAL - HENDERSON HIGHWAY TO WATT STREET |  |  |  | Subtotal: | 0
| B | 2021 WATT STREET PAVEMENT WIDENING & ASPHALT RESURFACING - MUNROE AVENUE TO APPROX. 65m NORTH OF MUNROE AVENUE |  |  |  | Subtotal: | 0
| C | 2021 WATT STREET PAVEMENT RENEWAL - MUNROE AVENUE TO APPROX. 40m SOUTH OF MUNROE AVENUE |  |  |  | Subtotal: | 0
| D | 2022 MUNROE AVENUE PAVEMENT RENEWAL - WATT STREET TO RALEIGH STREET |  |  |  | Subtotal: | 0
| E | 2021 MUNROE AVENUE & BRAZIER STREET WATER MAIN RENEWALS |  |  |  | Subtotal: | 0
| F | 2021 TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
| G | 2022 TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D13.2-3, D14.4)
| H | 2021 MUNROE AVENUE - HENDERSON HIGHWAY TO WATT STREET |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| I | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on D2: Insert reference to "Prices" clause from the "Bidding Procedures". Revise the Header by inserting the Tender #.
Note on C54: Pheifer, Henly: old version has 0 - 50
Note on C147: Pheifer, Henly: old version has 0 - 50
Note on C271: Pheifer, Henly: old version has 0 - 50