## FORM B -(2 Part w cond funds)
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | SARGENT AVENUE - ST. JAMES STREET TO EMPRESS STREET (CONCRETE RECONSTRUCTION)
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21, E14 | m³ | 4200 |  | 0
| A.2 | Hydro-Excavation | E13 | hour | 20 |  | 0
| A.3 | Sand Backfill Material | CW 2030-R7 | tonne | 25 |  | 0
A004 | A.4 | Sub-Grade Compaction | CW 3110-R21 | m² | 6000 |  | 0
A007 | A.5 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 5300 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 250 |  | 0
A010 | A.6 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 625 |  | 0
A012 | A.7 | Grading of Boulevards | CW 3110-R21 | m² | 350 |  | 0
A016 | A.8 | Removal of Existing Concrete Bases | CW 3110-R21
A017 | i) | 600 mm Diameter or Less |  | each | 12 |  | 0
A022 | A.9 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 6000 |  | 0
A022A4 | A.10 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 6000 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 5275 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 150 |  | 0
B047-24 | A.12 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B057-24 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 10 |  | 0
B058-24 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 30 |  | 0
B059-24 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 15 |  | 0
B094 | A.13 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 100 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 75 |  | 0
| iii) | 31.8 mm Diameter |  | each | 325 |  | 0
B097 | A.14 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 85 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 700 |  | 0
B100r | A.15 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 220 |  | 0
B103r | ii) | Safety Median |  | m² | 75 |  | 0
B104r | iii) | 100 mm Sidewalk |  | m² | 1450 |  | 0
B105r | iv) | Bullnose |  | m² | 5 |  | 0
B114rl | A.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B154rl | A.17 | Concrete Curb Renewal | CW 3240-R10
B155rlB | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlB1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rlB2 | b) | 3 m to 30 m |  | m | 10 |  | 0
B190 | A.18 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 120 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 10 |  | 0
B200 | A.19 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 875 |  | 0
B203 | ii) | 1 - 50 mm Depth (Concrete) |  | m² | 30 |  | 0
B219 | A.20 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 14 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.21 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 300 |  | 0
| ii) | Construction of 250 mm Concrete Pavement (Plain-Dowelled, Slip form Paving) |  | m² | 4000 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
C014 | iv) | Construction of Concrete Median Slabs | SD-227A | m² | 290 |  | 0
C016 | v) | Construction of Concrete Safety Medians | SD-226B | m² | 90 |  | 0
C018 | vi) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 10 |  | 0
C019 | A.22 | Concrete Pavements for Early Opening | CW 3310-R17
C022-72 | i) | Construction of 250 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 330 |  | 0
C026-24 | ii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 40 |  | 0
C026-72 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 325 |  | 0
C032 | A.23 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E16
C035B | i) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 500 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 10 |  | 0
| iii) | Construction of Integral Barrier Curb for Asphalt Pavement |  | m | 25 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 80 |  | 0
C047C | v) | Construction of Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 45 |  | 0
C050 | A.24 | Supply and Installation of Dowel Assemblies (31.8 mm Dowels) | CW 3310-R17 | m | 1175 |  | 0
C051 | A.25 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 130 |  | 0
| A.26 | 100 mm Sidewalk with Block Outs | E10 | m² | 1275 |  | 0
| A.27 | Supply and Installation of Paving Stones for Indicator Surfaces | E11 | m² | 95 |  | 0
C055 | A.28 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 60 |  | 0
C064 | A.29 | Construction of Asphalt Patches | CW 3410-R12 | m² | 50 |  | 0
TEMPORARY CONSTRUCTION WORKS
A003 | A.30 | Excavation | CW 3110-R21, E14 | m³ | 85 |  | 0
A007 | A.31 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 80 |  | 0
A010 | A.32 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 25 |  | 0
B001 | A.33 | Pavement Removal | CW 3110-R21
B003 | i) | Asphalt Pavement |  | m² | 240 |  | 0
C055 | A.34 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 70 |  | 0
JOINT AND CRACK SEALING
D006 | A.35 | Reflective Crack Maintenance | CW 3250-R7 | m | 300 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.36 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 5 |  | 0
E006 | A.37 | Catch Pit | CW 2130-R12, E17
E007 | i) | SD-023 |  | each | 4 |  | 0
| ii) | SD-023 with Frame and Grated Cover |  | each | 1 |  | 0
E008 | A.38 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 12.7 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 18.8 |  | 0
E012 | A.39 | Drainage Connection Pipe | CW 2130-R12 | m | 16.2 |  | 0
E013 | A.40 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm, PVC
E016 | a) | SD-015 |  | vert. m | 14.8 |  | 0
E023 | A.41 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E036 | A.42 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041A | a) | Connecting to 600 mm Concrete Combined Sewer |  | each | 2 |  | 0
E041B | b) | Connecting to 750 mm Concrete Combined Sewer |  | each | 4 |  | 0
E046 | A.43 | Removal of Existing Catch Basins | CW 2130-R12 | each | 7 |  | 0
E047 | A.44 | Removal of Existing Catch Pit | CW 2130-R12 | each | 5 |  | 0
E050 | A.45 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 5 |  | 0
| A.46 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 7 |  | 0
E051 | A.47 | Installation of Subdrains | CW 3120-R4 | m | 105 |  | 0
ADJUSTMENTS
F001 | A.48 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
| A.49 | Adjustment of Existing Manitoba Hydro Manholes | E18 | each | 1 |  | 0
F002 | A.50 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
| A.51 | Cast-in-Place Concrete Risers | E18 | vert. m | 1 |  | 0
F003 | A.52 | Lifter Rings (AP-010) | CW 3210-R8
F006 | i) | 64 mm |  | each | 5 |  | 0
F009 | A.53 | Adjustment of Valve Boxes | CW 3210-R8 | each | 9 |  | 0
F010 | A.54 | Valve Box Extensions | CW 3210-R8 | each | 4 |  | 0
F011 | A.55 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
F018 | A.56 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | A.57 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 150 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 200 |  | 0
| A.58 | Regrade Existing Landscaping Stones | E15 | m² | 175 |  | 0
| A | SARGENT AVENUE - ST. JAMES STREET TO EMPRESS STREET (CONCRETE RECONSTRUCTION) |  |  |  | Subtotal: | 0
| B | SIGNALS WORK
ST. JAMES ST. AND SARGENT AVENUE
| B.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit by Directional Boring- Double |  | m | 10 |  | 0
| B.2 | Installation of Concrete Bases | CW 3620-R9, E19, E22
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A | each | 1 |  | 0
| B.3 | Installation of Service Boxes | CW 3620-R9, E20
| i) | Service Box- Pre-Cast (17"x30") | SD-322 | each | 1 |  | 0
REMOVALS
| B.4 | Removal of Existing Bases and Service Boxes | CW 3620-R9
| i) | Signal Pole Base or Service Box |  | each | 2 |  | 0
MISCELLANEOUS
| B.5 | Cutovers | CW 3620-R9, E21 | each | 2 |  | 0
MILT STEGALL DRIVE AND SARGENT AVENUE
| B.6 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit by Directional Boring- Single |  | m | 100 |  | 0
| ii) | Installation of Conduit by Directional Boring- Double |  | m | 250 |  | 0
| B.7 | Installation of Concrete Bases | CW 3620-R9, E19, E22
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 6 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A | each | 3 |  | 0
| iii) | Controller Base |  | each | 1 |  | 0
| B.8 | Installation of Service Boxes | CW 3620-R9, E20
| i) | Service Box- Pre-Cast (17"x30") | SD-322 | each | 5 |  | 0
REMOVALS
| B.9 | Removal of Existing Bases and Service Boxes | CW 3620-R9
| i) | Signal Pole Base or Service Box |  | each | 10 |  | 0
| ii) | Controller Base or Pedestal Base |  | each | 1 |  | 0
MISCELLANEOUS
| B.10 | Ground Rods (Electrodes) | CW 3620-R9 | each | 2 |  | 0
| B.11 | Cutovers | CW 3620-R9, E21 | each | 1 |  | 0
EMPRESS ST. AND SARGENT AVENUE
| B.12 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit by Directional Boring- Single |  | m | 50 |  | 0
| ii) | Installation of Conduit by Directional Boring- Double |  | m | 100 |  | 0
| B.13 | Installation of Concrete Bases | CW 3620-R9, E19, E22
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313 | each | 1 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A | each | 2 |  | 0
| iii) | Controller Base |  | each | 1 |  | 0
| B.14 | Installation of Service Boxes | CW 3620-R9, E20
| i) | Service Box- Pre-Cast (17"x30") | SD-322 | each | 3 |  | 0
REMOVALS
| B.15 | Removal of Existing Bases and Service Boxes | CW 3620-R9
| i) | Signal Pole Base or Service Box |  | each | 4 |  | 0
| ii) | Controller Base or Pedestal Base |  | each | 1 |  | 0
MISCELLANEOUS
| B.16 | Ground Rods (Electrodes) | CW 3620-R9 | each | 1 |  | 0
| B.17 | Cutovers | CW 3620-R9, E21 | each | 2 |  | 0
| B | SIGNALS WORK |  |  |  | Subtotal: | 0
| C | WATER AND WASTE WORK
E072 | C.1 | Watermain and Water Service Insulation | E12
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 100 |  | 0
| ii) | Insulation of Catch Basins, Manholes and Leads |  | m² | 15 |  | 0
| C | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2, B18.5, D3., D13.1, D13.2, D14.4)
| D | STREET LIGHT INSTALLATION
| D.1 | Removal of 45' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E23 | each | 1 |  | 0
| D.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method | E23 | m | 215 |  | 0
| D.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances | E23 | each | 4 |  | 0
| D.4 | Installation of 45' pole, davit arm and precast concrete base including luminaire and appurtenances | E23 | each | 1 |  | 0
| D.5 | Installation of one (1) 10' ground rof at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m. from rod location to new street light and connect (hammerlock) to top of the ground rod. | E23 | each | 3 |  | 0
| D.6 | Install Hand Hole | E23 | each | 1 |  | 0
| D.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10 | E23 | each | 4 |  | 0
| D.8 | Installation of break-away base and reaction plate on base mounted poles up to 35' | E23 | each | 2 |  | 0
| D.9 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable | E23 | each | 1 |  | 0
| D | STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
| E | MOBILIZATION /DEMOLIBIZATION
I001 | E.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | SARGENT AVENUE - ST. JAMES STREET TO EMPRESS STREET (CONCRETE RECONSTRUCTION) |  |  |  | Subtotal: | 0
| B | SIGNALS WORK |  |  |  | Subtotal: | 0
| C | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2, B18.5, D3., D13.1, D13.2, D14.4)
| D | STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0