## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE - CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 3050 |  | 0
| A.2 | Hydro-Excavation | E17 | hour | 10 |  | 0
| A.3 | Sand Backfill Material | CW 2030-R7 | tonne | 10 |  | 0
A004 | A.4 | Sub-Grade Compaction | CW 3110-R22 | m² | 5500 |  | 0
A007 | A.5 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 240 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 4500 |  | 0
A010 | A.6 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 780 |  | 0
A012 | A.7 | Grading of Boulevards | CW 3110-R22 | m² | 440 |  | 0
A022 | A.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 5500 |  | 0
A022A4 | A.9 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 5500 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | A.10 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 5025 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0
B094 | A.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 15 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 200 |  | 0
| iii) | 31.8 mm Diameter |  | each | 155 |  | 0
B097 | A.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 80 |  | 0
B100r | A.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1650 |  | 0
B114rl | A.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 55 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 18 |  | 0
B124 | A.15 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | A.16 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | A.17 | Concrete Curb Removal | CW 3240-R10
B127rA | i) | Barrier Integral |  | m | 30 |  | 0
B132r | ii) | Curb Ramp |  | m | 15 |  | 0
B189 | A.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 15 |  | 0
C052 | A.19 | Interlocking Paving Stones | CW 3330-R5 | m² | 8 |  | 0
B190 | A.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 75 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 10 |  | 0
B199 | A.21 | Construction of Asphalt Patches | CW 3410-R12 | m² | 50 |  | 0
B200 | A.22 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 500 |  | 0
B203 | ii) | 1 - 50 mm Depth (Concrete) |  | m² | 25 |  | 0
B219 | A.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 28 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C004 | i) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 290 |  | 0
C004 | ii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled, Slip-formed) |  | m² | 4350 |  | 0
C008 | iii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 40 |  | 0
C011 | iv) | Construction of 150 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 25 |  | 0
C019 | A.25 | Concrete Pavements for Early Opening | CW 3310-R18
C022-24 | i) | Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 25 |  | 0
C022-72 | ii) | Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 300 |  | 0
C026-72 | iii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 10 |  | 0
C029-72 | iv) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 10 |  | 0
C032 | A.26 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C033B | i) | Construction of Barrier (180 mm ht, Type 2, Dowelled) | SD-205 | m | 30 |  | 0
C034B | ii) | Construction of Barrier (180 mm ht, Type 2, Separate) | SD-203A | m | 10 |  | 0
C035B | iii) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 500 |  | 0
C036B | iv) | Construction of Modified Barrier (180 mm ht, Type 2, Dowelled) | SD-203B | m | 10 |  | 0
C037B | v) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 70 |  | 0
C045 | vi) | Construction of Lip Curb (40 mm ht, Type 1, Integral) | SD-202B | m | 9 |  | 0
C046 | vii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 100 |  | 0
C046A | viii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Monolithic) | SD-229C | m | 15 |  | 0
C050 | A.27 | Supply and Installation of Dowel Assemblies (31.8mm Dowels) | CW 3310-R18 | m | 1080 |  | 0
C051 | A.28 | Type 5 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 60 |  | 0
| A.29 | Type 5 100 mm Sidewalk with Block Outs | E11 | m² | 1625 |  | 0
B114E | A.30 | Paving Stone Indicator Surfaces | E12 | m² | 225 |  | 0
C055 | A.31 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 15 |  | 0
JOINT AND CRACK SEALING
D006 | A.32 | Reflective Crack Maintenance | CW 3250-R7 | m | 200 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.33 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 8 |  | 0
E008 | A.34 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 60 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 6 |  | 0
E013 | A.35 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 17.2 |  | 0
E023 | A.36 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0
E036 | A.37 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041A | a) | Connecting to 600 mm Concrete Combined Sewer |  | each | 2 |  | 0
E041B | b) | Connecting to 750 mm Concrete Combined Sewer |  | each | 4 |  | 0
E041B | c) | Connecting to 1375 x 1825 mm Concrete Combined Sewer |  | each | 2 |  | 0
E046 | A.38 | Removal of Existing Catch Basins | CW 2130-R12 | each | 8 |  | 0
E050 | A.39 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
| A.40 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 8 |  | 0
E051 | A.41 | Installation of Subdrains | CW 3120-R4 | m | 96 |  | 0
ADJUSTMENTS
F001 | A.42 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 7 |  | 0
F002 | A.43 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | A.44 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 5 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F009 | A.45 | Adjustment of Valve Boxes | CW 3210-R8 | each | 6 |  | 0
F010 | A.46 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | A.47 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 45 |  | 0
F018 | A.48 | Curb Stop Extensions | CW 3210-R8 | each | 10 |  | 0
LANDSCAPING
G001 | A.49 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 260 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 180 |  | 0
| A | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | MCGREGOR STREET - MCADAM AVENUE TO SEVEN OAKS AVENUE - CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R22 | m³ | 2800 |  | 0
| B.2 | Hydro-Excavation | E17 | hour | 10 |  | 0
| B.3 | Sand Backfill Material | CW 2030-R7 | tonne | 10 |  | 0
A004 | B.4 | Sub-Grade Compaction | CW 3110-R22 | m² | 5200 |  | 0
A007 | B.5 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 375 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 4250 |  | 0
A010 | B.6 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 720 |  | 0
A012 | B.7 | Grading of Boulevards | CW 3110-R22 | m² | 2230 |  | 0
A022 | B.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 5200 |  | 0
A022A4 | B.9 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 5200 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | B.10 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 5200 |  | 0
B094 | B.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 460 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 190 |  | 0
| iii) | 31.8 mm Diameter |  | each | 660 |  | 0
B097 | B.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 185 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 110 |  | 0
B100r | B.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1250 |  | 0
B114rl | B.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 15 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 40 |  | 0
B124 | B.15 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | B.16 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 2 |  | 0
B126r | B.17 | Concrete Curb Removal | CW 3240-R10
B127rA | i) | Barrier Integral |  | m | 40 |  | 0
B128r | ii) | Modified Barrier Integral |  | m | 25 |  | 0
B132r | iii) | Curb Ramp |  | m | 30 |  | 0
B189 | B.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
C052 | B.19 | Interlocking Paving Stones | CW 3330-R5 | m² | 2 |  | 0
B190 | B.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 120 |  | 0
B199 | B.21 | Construction of Asphalt Patches | CW 3410-R12 | m² | 10 |  | 0
B200 | B.22 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 950 |  | 0
B203 | ii) | 1 - 50 mm Depth (Concrete) |  | m² | 25 |  | 0
B219 | B.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 40 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | B.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C004 | i) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 400 |  | 0
C004 | ii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled, Slip-formed) |  | m² | 3560 |  | 0
C008 | iii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 10 |  | 0
C011 | iv) | Construction of 150 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 450 |  | 0
C019 | B.25 | Concrete Pavements for Early Opening | CW 3310-R18
C022-24 | i) | Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 25 |  | 0
C022-72 | ii) | Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 160 |  | 0
C026-72 | iii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 40 |  | 0
C029-72 | iv) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 25 |  | 0
C032 | B.26 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C035B | i) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 400 |  | 0
C036B | ii) | Construction of Modified Barrier (180 mm ht, Type 2, Dowelled) | SD-203B | m | 70 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 205 |  | 0
C045 | iv) | Construction of Lip Curb (40 mm ht, Type 1, Integral) | SD-202B | m | 30 |  | 0
C046 | v) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 175 |  | 0
C046A | vi) | Construction of Curb Ramp (8-12 mm ht, Type 2, Monolithic) | SD-229C | m | 30 |  | 0
C050 | B.27 | Supply and Installation of Dowel Assemblies (31.8mm Dowels) | CW 3310-R18 | m | 980 |  | 0
C051 | B.28 | Type 5 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 1150 |  | 0
JOINT AND CRACK SEALING
D006 | B.29 | Reflective Crack Maintenance | CW 3250-R7 | m | 320 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.30 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 8 |  | 0
E008 | B.31 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 8 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 32 |  | 0
E013 | B.32 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 24 |  | 0
E023 | B.33 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0
E036 | B.34 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E040 | a) | Connecting to 450 mm Clay Combined Sewer |  | each | 2 |  | 0
E041 | b) | Connecting to 550mm Clay Combined Sewer |  | each | 4 |  | 0
E041A | c) | Connecting to 600 mm Clay Combined Sewer |  | each | 2 |  | 0
E046 | B.35 | Removal of Existing Catch Basins | CW 2130-R12 | each | 8 |  | 0
E050 | B.36 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 1 |  | 0
| B.37 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 8 |  | 0
E051 | B.38 | Installation of Subdrains | CW 3120-R4 | m | 96 |  | 0
ADJUSTMENTS
F001 | B.39 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 7 |  | 0
F002 | B.40 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | B.41 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 5 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F009 | B.42 | Adjustment of Valve Boxes | CW 3210-R8 | each | 15 |  | 0
F010 | B.43 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
F011 | B.44 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
F018 | B.45 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | B.46 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 440 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1790 |  | 0
| B | MCGREGOR STREET - MCADAM AVENUE TO SEVEN OAKS AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | WATER AND WASTE WORK
MCGREGOR STREET - MOUNTAIN AVE TO CHURCH AVE
E072 | C.1 | Watermain and Water Service Insulation | E13
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 480 |  | 0
S-MH00006343
F002 | C.2 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.6 |  | 0
| C.3 | Repair of Manhole Benching | E16 | each | 1 |  | 0
| C | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| D | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE - TRAFFIC SIGNALS
MCGREGOR STREET AT CHURCH AVENUE
| D.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit- Single |  | m | 65 |  | 0
| D.2 | Installation of Concrete Bases | CW 3620-R9, E19
| i) | Signal Pole Base Early Open - Type OD | SD-312A | each | 2 |  | 0
| D.3 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box - Pre-Cast (13" x 24") | SD-322 | each | 1 |  | 0
| D.4 | Ground Rods (Electrodes) | CW 3620-R9 | each | 1 |  | 0
| D | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE - TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.5, D3, D13.2-3, D15.4, D29.5)
| E | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE, MCADAM AVENUE TO SEVEN OAKS AVENUE - STREET LIGHTING
| E.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E21 | each | 2 |  | 0
| E.2 | Removal of 45' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E21 | each | 7 |  | 0
| E.3 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E21 | lin.m | 800 |  | 0
| E.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E21 | each | 2 |  | 0
| E.5 | Installation of 45' pole, davit arm and precast concrete base including luminaire and appurtenances. | E21 | each | 9 |  | 0
| E.6 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E21 | each | 4 |  | 0
| E.7 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E21 | each | 6 |  | 0
| E.8 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E21 | each | 6 |  | 0
| E.9 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E21 | each | 2 |  | 0
| E.10 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E21 | per span | 17 |  | 0
| E.11 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E21 | per span | 17 |  | 0
| E.12 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E21 | each | 9 |  | 0
| E | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE, MCADAM AVENUE TO SEVEN OAKS AVENUE - STREET LIGHTING |  |  |  | Subtotal: | 0
| F | MOBILIZATION /DEMOLIBIZATION
I001 | F.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | MCGREGOR STREET - MCADAM AVENUE TO SEVEN OAKS AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| D | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE - TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.5, D3, D13.2-3, D15.4, D29.5)
| E | MCGREGOR STREET - MOUNTAIN AVENUE TO CHURCH AVENUE, MCADAM AVENUE TO SEVEN OAKS AVENUE - STREET LIGHTING |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0