## C5 Lrg Dia 600-1200
ASSET NUMBER | STREET NAME | LOCATION DESCRIPTION | FLOW TYPE | WORK TYPE NAME | EST COST | COMMENTS | HEIGHT (mm) | WIDTH (mm) | LENGTH (m)
S-MA60022652 | EASEMENT(E OF ST. NORBERT COLLEGIATE) | 1ST MH S OF ST THERESE AV TO 2ND MH S OF ST THERESE AV | LDS | FULL SEGMENT LINER | 94500 | SAM, SCP, FM, FC, CC, JOM, SAV, SSS, 3x MSC (450, 300, 450, 300) | 600 | 600 | 144.1
S-MA50004056 | GAUVIN ST | MH AT CONISTON ST TO 1ST MH S OF CONISTON ST | CS | FULL SEGMENT LINER | 52500 | FL THROUGHOUT - IMAGES AVAILABLE; FM, FL, CM, CL, SAM, SAP, SAV | 600 | 600 | 74.4
S-MA50007515 | HILL ST | 1ST MH S OF NIVERVILLE AV TO MH AT CATON ST | CS | FULL SEGMENT LINER | 63900 | FL (TPR REQ'D) AT 4+ LOCATIONS - IMAGES AVAILABLE; 48.1m DS @ 6 o'c, DR5% | 600 | 600 | 94
S-MA70003172 | HILL ST | MH AT CATON ST TO 1ST MH S OF CATON ST | CS | FULL SEGMENT LINER | 44100 | FH4, FS, FL, CL, SRI | 600 | 600 | 60.5
S-MA50007563 | HILL ST(CL TO W.PL) | MH AT CARRIERE AV(N.PL) TO MH AT CARRIERE AV(CL) | CS | FULL SEGMENT LINER | 17100 | H, B, CL, SAP. Stabilization at 0-4m | 600 | 600 | 15.2
S-MA50014578 | KINGSTON ROW | 1ST MH E OF NORFOLK AV TO 2ND MH E OF NORFOLK AV | CS | FULL SEGMENT LINER | 168500 | CL, FL | 1125 | 750 | 145
S-MA20011461 | PORTAGE AV(SPL) | 1ST MH E OF ST. JOHN AMBULANCE WAY TO 2ND MH E OF ST. JOHN AMBULANCE WAY | WWS | FULL SEGMENT LINER | 132300 | test | 900 | 900 | 87.178
S-MA20016571 | PORTAGE AVE(S.OF CL) | MH AT VAUGHAN ST TO MH AT TE AT COLONY ST | CS | FULL SEGMENT LINER | 160650 | FL, SAM, SAP | 900 | 900 | 108.3
S-MA50017468 | ST THOMAS RD | 1ST MH S OF FERMOR AV TO 2ND MH S OF FERMOR AV | CS | FULL SEGMENT LINER | 133200 | SAM, SAP, SSC | 750 | 750 | 137.868
S-MA50017485 | ST THOMAS RD. | 1ST MH N.OF REGAL AV. TO 1ST MH N.OF CRYSTAL AV. | CS | FULL SEGMENT LINER | 126000 | SAM, SAP, SSS | 750 | 750 | 129.363
S-MA20015331 | WESTMINSTER AV | MH AT CHESTNUT ST TO MH AT WALNUT ST | CS | FULL SEGMENT LINER | 120100 | SSL - images available; FC, CC, SAM, SAP, SAV, SSC, SSS. Stabilization from 81-82m | 900 | 900 | 82
S-MA70019662 | WOODHAVEN BV | MH S OF ASSINIBOINE AV TO 2ND MH S OF ASSINIBOIN | CS | FULL SEGMENT LINER | 89100 | SSM, H | 1200 | 900 | 62.6
1201950