## Form B - 399-2023
FORM B: PRICES
(SEE B10)
UNIT PRICES
|  | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
A |  | PORTAGE AVENUE - BERRY STREET TO KINTYRE STREET
A | 1 | Water Main Renewal | CW 2110
| a) | 150mm
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 27 |  | $ -
| b) | 200mm
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 8 |  | $ -
| c) | 250mm
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 640 |  | $ -
A. | 2 | Water Main Renewal in a casing pipe | CW 2110
| a) | 250mm
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 30 |  | $ -
A. | 3 | Hydrant Assembly | CW 2110
| a) | SD-006 |  | each | 6 |  | $ -
A. | 4 | Water Main Valve | CW 2110
| a) | 150mm |  | each | 7 |  | $ -
| b) | 200mm |  | each | 2 |  | $ -
| c) | 250mm |  | each | 13 |  | $ -
A. | 5 | Fittings | CW 2110
| a) | Tees
| i) | 250mmx250mmX150mm |  | each | 2 |  | $ -
| ii) | 250mmx250mmX200mm |  | each | 1 |  | $ -
| iii) | 250mmx250mmX250mm |  | each | 9 |  | $ -
| b) | Bends (SD-004)
| i) | 150mm - 11¼° |  | each | 3 |  | $ -
| ii) | 150mm - 22½° |  | each | 2 |  | $ -
| iii) | 150mm - 45° |  | each | 2 |  | $ -
| iv) | 200mm - 22½˚ |  | each | 1 |  | $ -
| v) | 200mm - 45˚ |  | each | 1 |  | $ -
| vi) | 250mm - 11¼° |  | each | 1 |  | $ -
| vii) | 250mm - 22½˚ |  | each | 3 |  | $ -
| viii) | 250mm - 45˚ |  | each | 6 |  | $ -
| c) | Bends (SD-005)
| i) | 250mm - 22½˚ |  | each | 4 |  | $ -
| d) | Reducers
| i) | 200mm - 150mm |  | each | 5 |  | $ -
| ii) | 250mm - 200mm |  | each | 7 |  | $ -
A. | 6 | Corporation Stops | CW 2110
| a) | 19mm |  | each | 1 |  | $ -
| b) | 25mm |  | each | 2 |  | $ -
| c) | 50mm |  | each | 2 |  | $ -
A. | 7 | Connecting to Existing Water Mains and Large Diameter Water Services | CW 2110
| a) | In-line connection - no plug existing
| i) | 150mm |  | each | 8 |  | $ -
| ii) | 200mm |  | each | 2 |  | $ -
| iii) | 250mm |  | each | 3 |  | $ -
A. | 8 | Connecting Existing Copper Water Services to New Water Mains | CW 2110
| a) | 19mm |  | each | 1 |  | $ -
| b) | 25mm |  | each | 2 |  | $ -
| c) | 50mm |  | each | 2 |  | $ -
A. | 9 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110
| a) | On Water Services |  | each | 5 |  | $ -
| b) | On Water Mains |  | each | 2 |  | $ -
A. | 10 | Abandonment of existing valve pits | CW 2110 | each | 1 |  | $ -
A. | 11 | Abandonment of existing Catch Basin | CW 2130 | each | 1 |  | $ -
A. | 12 | Continuity Bonding | CW 2110 | each | 8 |  | $ -
A. | 13 | Miscellanous Concrete Slab Renewal | CW 3235
| a) | Sidewalk (SD-228A) |  | m² | 200 |  | $ -
A. | 14 | Partial Slab Replacement | CW 3230
| a) | 150mm Reinforced Concrete Pavement |  | m² | 50 |  | $ -
| b) | 200mm Reinforced Concrete Pavement |  | m² | 100 |  | $ -
A. | 15 | Concrete Curb Installation | CW 3240
| a) | Modified Barrier Curb (SD-203B) |  | m | 10 |  | $ -
| b) | Barrier Curb (SD-204) |  | m | 50 |  | $ -
| c) | Ramp Curb |  | m | 20 |  | $ -
A. | 16 | Detectable Warning Surface Tiles | CW 3326
| a) | 610mm x 1210mm tile |  | each | 8 |  | $ -
A. | 17 | Construction of Asphaltic Concrete Overlay (Type 1A) | CW 3410 | tonne | 35 |  | $ -
PART A - SUBTOTAL: | [6 empty] | 0
B. |  | MADISON STREET - PORTAGE AVENUE TO MADISON SQUARE
B. | 1 | Water Main Renewal | CW 2110
| a) | 150mm
| i) | trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 2 |  | $ -
| b) | 200mm
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 52 |  | $ -
| ii) | trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 148 |  | $ -
B. | 2 | Hydrant Assembly | CW 2110
| a) | SD-006 |  | each | 1 |  | $ -
B. | 3 | Water Main Valve | CW 2110
| a) | 150mm |  | each | 1 |  | $ -
| b) | 200mm |  | each | 3 |  | $ -
B. | 4 | Fittings | CW 2110
| a) | Tees
| i) | 200mmx200mmX150mm |  | each | 1 |  | $ -
| b) | Bends (SD-004)
| i) | 200mm - 22½° |  | each | 1 |  | $ -
| ii) | 200mm - 45° |  | each | 2 |  | $ -
B. | 5 | Water Services | CW 2110
| a) | 50mm |  | m | 30 |  | $ -
B. | 6 | Corporation Stops | CW 2110
| a) | 50mm |  | each | 1 |  | $ -
B. | 7 | Connecting to Existing Water Mains and Large Diameter Water Services | CW 2110
| a) | In-line connection - no plug existing
| i) | 150mm |  | each | 1 |  | $ -
| ii) | 200mm |  | each | 1 |  | $ -
B. | 8 | Connecting Existing Copper Water Services to New Water Mains | CW 2110
| a) | 50mm |  | each | 1 |  | $ -
B. | 9 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110
| a) | On water services |  | each | 1 |  | $ -
B. | 10 | Continuity Bonding | CW 2110 | each | 1 |  | $ -
B. | 11 | Partial Slab Replacement | CW 3230
| a) | 150mm Reinforced Concrete Pavement |  | m² | 20 |  | $ -
| b) | 200mm Reinforced Concrete Pavement |  | m² | 20 |  | $ -
B. | 12 | Concrete Curb Installation | CW 3240
| a) | Barrier Curb - (SD-204) |  | m | 10 |  | $ -
B. | 13 | Construction of Asphaltic Concrete Overlay (Type 1A) | CW 3410 | tonne | 5 |  | $ -
PART B - SUBTOTAL: | [6 empty] | 0
C. |  | MOLSON STREET - 40m SOUTH OF ALUTHRA PLACE TO TU-PELO AVENUE
C. | 1 | Water Main Renewal | CW 2110
| a) | 150mm
| i) | trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 2 |  | $ -
| b) | 200mm
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 5 |  | $ -
| ii) | trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 395 |  | $ -
C. | 2 | Hydrant Assembly | CW 2110
| a) | SD-006 |  | each | 4 |  | $ -
C. | 3 | New Hydrant Asssembly on Existing Water Main | CW 2110
| a) | SD-006 |  | each | 2 |  | $ -
C. | 4 | Water Main Valve | CW 2110
| a) | 200mm |  | each | 10 |  | $ -
C. | 5 | Fittings | CW 2110
| a) | Tees
| i) | 200mmx200mmX200mm |  | each | 5 |  | $ -
| ii) | 300mmx300mmX300mm |  | each | 1 |  | $ -
| b) | Bends (SD-005)
| i) | 200mm - 45˚ |  | each | 8 |  | $ -
| c) | Reducers
| i) | 300mm - 250mm |  | each | 1 |  | $ -
| ii) | 250mm - 200mm |  | each | 1 |  | $ -
| iii) | 200mm - 150mm |  | each | 4 |  | $ -
C. | 6 | Corporation Stops | CW 2110
| a) | 50mm |  | each | 1 |  | $ -
C. | 7 | Connecting to Existing Water Mains and Large Diameter Water Services | CW 2110
| a) | In-line connection - no plug existing
| i) | 150mm |  | each | 4 |  | $ -
| ii) | 200mm |  | each | 1 |  | $ -
| b) | Perpendicular connection
| i) | 300mm |  | each | 1 |  | $ -
C. | 8 | Water Services Replacement | CW 2110
| a) | 50mm |  | each | 1 |  | $ -
C. | 9 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110
| a) | On water services |  | each | 2 |  | $ -
| b) | On water mains |  | each | 1 |  | $ -
C. | 10 | Watermain and Water Service Insulation | CW 2110
| a) | In a trench (SD - 018)
| i) | 75mm thick |  | m | 10 |  | $ -
C. | 11 | Continuity Bonding | CW 2110 | each | 2 |  | $ -
C. | 12 | Miscellanous Concrete Slab Renewal | CW 3235
| a) | Sidewalk (SD-228A) |  | m² | 10 |  | $ -
C. | 13 | Construction of Asphaltic Patches (Type 1A) | CW 3410 | m² | 20 |  | $ -
PART C - SUBTOTAL: | [6 empty] | 0
D. |  | PROVISIONAL ITEMS
D. | 1 | Granular Backfill Material | CW 2130 | m³ | 20 |  | $ -
D. | 2 | Cement Stabilized Fill | CW 2130 | m³ | 10 |  | $ -
D. | 3 | Water Main Renewal in a casing pipe | CW 2110
| a) | 250mm
| i) | In a trench installation, Class B sand bedding, Class 1 backfill |  | m | 15 |  | $ -
D. | 4 | Water Service Replacement | CW 2110
| a) | 19mm
| i) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 2 |  | $ -
| ii) | Trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 2 |  | $ -
| b) | 25mm
| i) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 2 |  | $ -
| ii) | Trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 2 |  | $ -
| c) | 38mm
| i) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 2 |  | $ -
| ii) | Trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 2 |  | $ -
| d) | 50mm
| i) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 2 |  | $ -
| ii) | Trenchless installation, Class B sand bedding, Class 5 backfill |  | m | 2 |  | $ -
D. | 5 | Corporation Stops | CW 2110
| a) | 19mm |  | each | 2 |  | $ -
| b) | 25mm |  | each | 2 |  | $ -
| c) | 38mm |  | each | 2 |  | $ -
| d) | 50mm |  | each | 2 |  | $ -
D. | 6 | Curb Stops | CW 2110
| a) | 19mm |  | each | 2 |  | $ -
| b) | 25mm |  | each | 2 |  | $ -
| c) | 38mm |  | each | 2 |  | $ -
| d) | 50mm |  | each | 2 |  | $ -
D. | 7 | Curb Stop Boxes | CW 2110
| a) | 19mm |  | each | 2 |  | $ -
| b) | 25mm |  | each | 2 |  | $ -
| c) | 38mm |  | each | 2 |  | $ -
| d) | 50mm |  | each | 2 |  | $ -
D. | 8 | Board Insulation | CW 2110
| a) | 50mm thick |  | m | 20 |  | $ -
D. | 9 | Maintaining Curb Stop Excavations | CW 2110 | day | 20 |  | $ -
D. | 10 | Regrading of Existing Sewer Service – Up to 1.5 meters Long | CW 2110
| a) | 150mm |  | each | 2 |  | $ -
D. | 11 | Regrading of Existing Sewer Service – Longer Than 1.5 meters | CW 2110
| a) | 150mm |  | m | 20 |  | $ -
D. | 12 | Remove and Replace Existing Catch Basin | CW 2130
| a) | SD-025 |  | each | 1 |  | $ -
D. | 13 | Remove and Replace Existing Catch Pit | CW 2130
| a) | SD-023 |  | each | 1 |  | $ -
D. | 14 | Abandoning Existing Catch Basins | CW 2130 | each | 1 |  | $ -
D. | 15 | Catch Basin Lead | CW 2130
| a) | 250mm PVC SDR-35
| i) | trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 10 |  | $ -
D. | 16 | Partial Slab Patches | CW 3230
| a) | 150mm reinforced concrete pavement |  | m² | 20 |  | $ -
| b) | 200mm reinforced concrete pavement |  | m² | 20 |  | $ -
D. | 17 | Miscellaneous Concrete Slab Renewals | CW 3235
| a) | Sidewalk |  | m² | 12 |  | $ -
D. | 18 | Detectable Warning Surface Tiles | CW 3326
| a) | 610mm x 1210mm tile |  | each | 4 |  | $ -
D. | 19 | Concrete Curb Renewal | CW 3240
| a) | Barrier Curb |  | m | 20 |  | $ -
D. | 20 | Construction of Asphaltic Concrete Overlay | CW 3410
| a) | Main Line Paving (Type 1A) |  | tonne | 5 |  | $ -
D. | 21 | Construction of Asphaltic Patches (Type 1A) | CW 3410 | m² | 20 |  | $ -
D. | 22 | Planing | CW 3450
| a) | Planing 0- 50 mm depth
| i) | Asphaltic Concrete |  | m2 | 100 |  | $ -
D. | 23 | Adjustment of Paving Stones and Precast Sidewalk Blocks | CW 3235 | m² | 10 |  | $ -
D. | 24 | Regrading Existing Paving Stone Installations | CW 3330 | m² | 10 |  | $ -
D. | 25 | Topsoil and Sodding | CW 3510 | m² | 100 |  | $ -
D. | 26 | Tree Pruning | E4 | hr | 6 |  | $ -
PART D - SUBTOTAL: | [6 empty] | 0
TOTAL BID PRICE (GST extra) in figures | [5 empty] | 0
Name of Bidder