## 69-2023
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY |  |  | Locked? | Joined, Trimmed, & Cleaned for Checking | MATCH | Format F | Format G | Format H
[8 empty] | LOCKED |  | #REF! | G | C2 | G
| PART 1 FEDERAL GOVERNMENT FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | C2 | G
| A | STRUCTURAL SOIL CELLS AND RELATED WORK | [5 empty] | LOCKED | STRUCTURAL SOIL CELLS AND RELATED WORK | #REF! | G | C2 | C2
|  | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | [5 empty] | LOCKED | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | #REF! | G | C2 | C2
E003 | A.1 | Catch Basin | CW 2130-R12 |  |  |  |  | LOCKED | E003Catch BasinCW 2130-R12 | #REF! | G | C2 | C2
E004A | i) | SD-024, 1200 mm deep |  | each | 14 |  | 0 |  | E004ASD-024, 1200 mm deepeach | #REF! | F0 | C2 | C2
E072 | A.2 | Watermain and Water Service Insulation | E15 | m² | 40 |  | 0 |  | E072Watermain and Water Service Insulationm² | #REF! | F0 | C2 | C2
|  | STRUCTURAL SOIL CELLS | [5 empty] | LOCKED | STRUCTURAL SOIL CELLS | #REF! | G | C2 | C2
| A.3 | Hydro Excavation | E18 | hours | 150 |  | 0 |  | Hydro Excavationhours | #REF! | F0 | C2 | C2
| A.4 | Installation of Structural Soil Cells | E32 | m³ | 1485 |  | 0 |  | Installation of Structural Soil Cellsm³ | #REF! | F0 | C2 | C2
| A.5 | Installation of Subdrains | CW 3120-R4, E32 | m | 480 |  | 0 |  | Installation of SubdrainsCW 3120-R4, E32m | #REF! | F0 | C2 | C2
| A.6 | Installation of Transfer Pipe | E32 | m | 40 |  | 0 |  | Installation of Transfer Pipem | #REF! | F0 | C2 | C2
| A.7 | Installation of Distribution Pipe | E32 | m | 485 |  | 0 |  | Installation of Distribution Pipem | #REF! | F0 | C2 | C2
| A.8 | Installation of Impervious Liner | E32 | m² | 680 |  | 0 |  | Installation of Impervious Linerm² | #REF! | F0 | C2 | C2
| A.9 | Installation of Subdrain Clean Out | E32 | each | 14 |  | 0 |  | Installation of Subdrain Clean Outeach | #REF! | F0 | C2 | C2
| A.10 | Installation of Transfer/Distribution Pipe Clean Out | E32 | each | 14 |  | 0 |  | Installation of Transfer/Distribution Pipe Clean Outeach | #REF! | F0 | C2 | C2
| A.11 | Installation of Precast Vault for Cleanouts | E32 | each | 14 |  | 0 |  | Installation of Precast Vault for Cleanoutseach | #REF! | F0 | C2 | C2
| A.12 | Crushed Black Granite | E30 | tonne | 30 |  | 0 |  | Crushed Black Granitetonne | #REF! | F0 | C2 | C2
| A | STRUCTURAL SOIL CELLS AND RELATED WORK |  |  |  | Subtotal: | 0 | LOCKED | STRUCTURAL SOIL CELLS AND RELATED WORK | #REF! | G | C2 | C2
| PART 2 MANITOBA HYDRO FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | C2 | G
| B | STREET LIGHTING AND ASSOCIATED WORKS | [5 empty] | LOCKED | STREET LIGHTING AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| B.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E43 | each | 42 |  | 0 |  | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenanceseach | #REF! | ,0 | C2 | C2
| B.2 | Installation of 50 mm and 125mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E43 | lin.m | 3300 |  | 0 |  | Installation of 50 mm and 125mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex).lin.m | #REF! | ,0 | C2 | C2
| B.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E43 | each | 17 |  | 0 |  | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances.each | #REF! | ,0 | C2 | C2
| B.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E43 | each | 4 |  | 0 |  | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod.each | #VALUE! | ,0 | C2 | C2
| B.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E43 | each | 2 |  | 0 |  | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5.each | #REF! | ,0 | C2 | C2
| B.6 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E43 | each | 2 |  | 0 |  | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13.each | #REF! | ,0 | C2 | C2
| B.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E43 | set | 17 |  | 0 |  | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10.set | #REF! | ,0 | C2 | C2
| B.8 | Splicing #4 AI C/N or 2 single conductor street light cables. | E43 | set | 3 |  | 0 |  | Splicing #4 AI C/N or 2 single conductor street light cables.set | #REF! | ,0 | C2 | C2
| B.9 | Splicing cable or 3 single conductor street light cables. | E43 | set | 15 |  | 0 |  | Splicing cable or 3 single conductor street light cables.set | #REF! | ,0 | C2 | C2
| B.10 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E43 | each | 17 |  | 0 |  | Installation of break-away base and reaction plate on base mounted poles up to 35'.each | #REF! | ,0 | C2 | C2
| B.11 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E43 | per span | 32 |  | 0 |  | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed.per span | #REF! | ,0 | C2 | C2
| B.12 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E43 | per span | 32 |  | 0 |  | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed.per span | #REF! | ,0 | C2 | C2
| B.13 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E43 | each | 7 |  | 0 |  | Expose underground cable entrance of existing streetlight pole and install new streetlight cable.each | #REF! | ,0 | C2 | C2
| B | STREET LIGHTING AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0 | LOCKED | STREET LIGHTING AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| PART 3 CITY FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | C2 | G
| C | PAVEMENT REHABILITATION: BROADWAY FROM OSBORNE STREET TO MAIN STREET | [5 empty] | LOCKED | PAVEMENT REHABILITATION: BROADWAY FROM OSBORNE STREET TO MAIN STREET | #REF! | G | C2 | C2
|  | EARTH AND BASE WORKS | [5 empty] | LOCKED | EARTH AND BASE WORKS | #REF! | G | C2 | C2
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 635 |  | 0 |  | A003ExcavationCW 3110-R22m³ | #REF! | F0 | C2 | C2
A007 | C.2 | Supplying and Placing Sub-base Material | CW 3110-R22 |  |  |  |  | LOCKED | A007Supplying and Placing Sub-base MaterialCW 3110-R22 | #REF! | G | C2 | C2
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 300 |  | 0 |  | A007A150 mm Granular A Limestonetonne | #REF! | F0 | C2 | C2
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 25 |  | 0 |  | A008A1100 mm Granular A Limestonetonne | #REF! | F0 | C2 | C2
A010 | C.3 | Supplying and Placing Base Course Material | CW 3110-R22 |  |  |  |  | LOCKED | A010Supplying and Placing Base Course MaterialCW 3110-R22 | #REF! | G | C2 | C2
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 460 |  | 0 |  | A010A1Base Course Material - Granular A Limestonem³ | #REF! | F0 | C2 | C2
A012 | C.4 | Grading of Boulevards | CW 3110-R22 | m² | 2000 |  | 0 |  | A012Grading of BoulevardsCW 3110-R22m² | #REF! | F0 | C2 | C2
A016 | C.5 | Removal of Existing Concrete Bases | CW 3110-R22 |  |  |  |  | LOCKED | A016Removal of Existing Concrete BasesCW 3110-R22 | #REF! | G | C2 | C2
A017 | i) | 600 mm Diameter or Less |  | each | 5 |  | 0 |  | A017600 mm Diameter or Lesseach | #REF! | F0 | C2 | C2
| C.6 | Removal of Existing Street Car Track Bedding | E17 | m³ | 150 |  | 0 |  | Removal of Existing Street Car Track Beddingm³ | #REF! | F0 | C2 | C2
|  | ROADWORKS - REMOVALS/RENEWALS | [5 empty] | LOCKED | ROADWORKS - REMOVALS/RENEWALS | #REF! | G | C2 | C2
B001 | C.7 | Pavement Removal | CW 3110-R22 |  |  |  |  | LOCKED | B001Pavement RemovalCW 3110-R22 | #REF! | G | C2 | C2
B002 | i) | Concrete Pavement |  | m² | 1000 |  | 0 |  | B002Concrete Pavementm² | #REF! | F0 | C2 | C2
B003 | ii) | Asphalt Pavement |  | m² | 210 |  | 0 |  | B003Asphalt Pavementm² | #REF! | F0 | C2 | C2
B004 | C.8 | Slab Replacement | CW 3230-R8 |  |  |  |  | LOCKED | B004Slab ReplacementCW 3230-R8 | #REF! | G | C2 | C2
B011 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 750 |  | 0 |  | B011200 mm Type 1 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B017 | C.9 | Partial Slab Patches | CW 3230-R8 |  |  |  |  | LOCKED | B017Partial Slab PatchesCW 3230-R8 | #REF! | G | C2 | C2
B026 | i) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 25 |  | 0 |  | B026200 mm Type 1 Concrete Pavement (Type A)m² | #REF! | F0 | C2 | C2
B027 | ii) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 765 |  | 0 |  | B027200 mm Type 1 Concrete Pavement (Type B)m² | #REF! | F0 | C2 | C2
B029 | iii) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 1170 |  | 0 |  | B029200 mm Type 1 Concrete Pavement (Type D)m² | #REF! | F0 | C2 | C2
B034-24 | C.10 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8 |  |  |  |  | LOCKED | B034-24Slab Replacement - Early Opening (24 hour)CW 3230-R8 | #REF! | G | C2 | C2
B041-24 | i) | 200 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 125 |  | 0 |  | B041-24200 mm Type 3 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B047-24 | C.11 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8 |  |  |  |  | LOCKED | B047-24Partial Slab Patches - Early Opening (24 hour)CW 3230-R8 | #REF! | G | C2 | C2
B056-24 | i) | 200 mm Type 3 Concrete Pavement (Type A) |  | m² | 5 |  | 0 |  | B056-24200 mm Type 3 Concrete Pavement (Type A)m² | #REF! | F0 | C2 | C2
B057-24 | ii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 165 |  | 0 |  | B057-24200 mm Type 3 Concrete Pavement (Type B)m² | #REF! | F0 | C2 | C2
B059-24 | iii) | 200 mm Type 3 Concrete Pavement (Type D) |  | m² | 250 |  | 0 |  | B059-24200 mm Type 3 Concrete Pavement (Type D)m² | #REF! | F0 | C2 | C2
B064-72 | C.12 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8 |  |  |  |  | LOCKED | B064-72Slab Replacement - Early Opening (72 hour)CW 3230-R8 | #REF! | G | C2 | C2
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 125 |  | 0 |  | B071-72200 mm Type 4 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B077-72 | C.13 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8 |  |  |  |  | LOCKED | B077-72Partial Slab Patches - Early Opening (72 hour)CW 3230-R8 | #REF! | G | C2 | C2
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 5 |  | 0 |  | B086-72200 mm Type 4 Concrete Pavement (Type A)m² | #REF! | F0 | C2 | C2
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 165 |  | 0 |  | B087-72200 mm Type 4 Concrete Pavement (Type B)m² | #REF! | F0 | C2 | C2
B089-72 | iii) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 250 |  | 0 |  | B089-72200 mm Type 4 Concrete Pavement (Type D)m² | #REF! | F0 | C2 | C2
B094 | C.14 | Drilled Dowels | CW 3230-R8 |  |  |  |  | LOCKED | B094Drilled DowelsCW 3230-R8 | #REF! | G | C2 | C2
B095 | i) | 19.1 mm Diameter |  | each | 850 |  | 0 |  | B09519.1 mm Diametereach | #REF! | F0 | C2 | C2
B097 | C.15 | Drilled Tie Bars | CW 3230-R8 |  |  |  |  | LOCKED | B097Drilled Tie BarsCW 3230-R8 | #REF! | G | C2 | C2
B098 | i) | 20 M Deformed Tie Bar |  | each | 750 |  | 0 |  | B09820 M Deformed Tie Bareach | #REF! | F0 | C2 | C2
B100r | C.16 | Miscellaneous Concrete Slab Removal | CW 3235-R9 |  |  |  |  | LOCKED | B100rMiscellaneous Concrete Slab RemovalCW 3235-R9 | #REF! | G | C2 | C2
B104r | i) | 100 mm Sidewalk |  | m² | 5400 |  | 0 |  | B104r100 mm Sidewalkm² | #REF! | F0 | C2 | C2
B105r | ii) | Bullnose |  | m² | 10 |  | 0 |  | B105rBullnosem² | #REF! | F0 | C2 | C2
B107i | C.17 | Miscellaneous Concrete Slab Installation | CW 3235-R9 |  |  |  |  | LOCKED | B107iMiscellaneous Concrete Slab InstallationCW 3235-R9 | #REF! | G | C2 | C2
B112i | i) | Type 1 Concrete Bullnose | SD-227C | m² | 10 |  | 0 |  | B112iType 1 Concrete BullnoseSD-227Cm² | #REF! | F0 | C2 | C2
B114A | C.18 | Type 5 Concrete 125 mm Sidewalk with Block Outs | E13 | m² | 5400 |  | 0 |  | B114AType 5 Concrete 125 mm Sidewalk with Block Outsm² | #REF! | F0 | C2 | C2
B114E | C.19 | Paving Stone Indicator Surfaces | E14 |  |  |  |  | LOCKED | B114EPaving Stone Indicator Surfaces | #REF! | G | C2 | C2
| i) | 210 mm x 210 mm x 60 mm Charcoal Holland Paving Stones |  | m² | 430 |  | 0 |  | 210 mm x 210 mm x 60 mm Charcoal Holland Paving Stonesm² | #REF! | F0 | C2 | C2
B126r | C.20 | Concrete Curb Removal | CW 3240-R10 |  |  |  |  | LOCKED | B126rConcrete Curb RemovalCW 3240-R10 | #REF! | G | C2 | C2
B127rB | i) | Barrier Separate |  | m | 1000 |  | 0 |  | B127rBBarrier Separatem | #REF! | F0 | C2 | C2
B128r | ii) | Modified Barrier (Integral) |  | m | 35 |  | 0 |  | B128rModified Barrier (Integral)m | #REF! | F0 | C2 | C2
B132r | iii) | Curb Ramp |  | m | 50 |  | 0 |  | B132rCurb Rampm | #REF! | F0 | C2 | C2
B135i | C.21 | Concrete Curb Installation | CW 3240-R10 |  |  |  |  | LOCKED | B135iConcrete Curb InstallationCW 3240-R10 | #REF! | G | C2 | C2
B136iB | i) | Type 1 Concrete Barrier (180 mm reveal ht, Dowelled) | SD-205 | m | 1980 |  | 0 |  | B136iBType 1 Concrete Barrier (180 mm reveal ht, Dowelled)SD-205m | #REF! | F0 | C2 | C2
B139iB | ii) | Type 1 Concrete Modified Barrier (180 mm reveal ht, Dowelled) | SD-203B | m | 35 |  | 0 |  | B139iBType 1 Concrete Modified Barrier (180 mm reveal ht, Dowelled)SD-203Bm | #REF! | F0 | C2 | C2
B150iA | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 245 |  | 0 |  | B150iAType 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic)SD-229A,B,Cm | #REF! | F0 | C2 | C2
B154rl | C.22 | Concrete Curb Renewal | CW 3240-R10 |  |  |  |  | LOCKED | B154rlConcrete Curb RenewalCW 3240-R10 | #REF! | G | C2 | C2
B155rlB | i) | Type 1 Concrete Barrier (180 mm reveal ht, Dowelled) | SD-205, SD-206A |  |  |  |  | LOCKED | B155rlBType 1 Concrete Barrier (180 mm reveal ht, Dowelled)SD-205,SD-206A | #REF! | G | C2 | C2
B155rlB1 | a) | Less than 3 m |  | m | 15 |  | 0 |  | B155rlB1Less than 3 mm | #REF! | F0 | C2 | C2
B155rlB2 | b) | 3 m to 30 m |  | m | 50 |  | 0 |  | B155rlB23 m to 30 mm | #REF! | F0 | C2 | C2
B189 | C.23 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 100 |  | 0 |  | B189Regrading Existing Interlocking Paving StonesCW 3330-R5m² | #REF! | F0 | C2 | C2
B200 | C.24 | Planing of Pavement | CW 3450-R6 |  |  |  |  | LOCKED | B200Planing of PavementCW 3450-R6 | #REF! | G | C2 | C2
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 3645 |  | 0 |  | B2011 - 50 mm Depth (Asphalt)m² | #REF! | F0 | C2 | C2
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 8500 |  | 0 |  | B20250 - 100 mm Depth (Asphalt)m² | #REF! | F0 | C2 | C2
B206 | C.25 | Supply and Install Pavement Repair Fabric | CW 3140-R1 |  |  |  |  | LOCKED | B206Supply and Install Pavement Repair FabricCW 3140-R1 | #REF! | G | C2 | C2
B206A | i) | Type A |  | m² | 1500 |  | 0 |  | B206AType Am² | #REF! | F0 | C2 | C2
B206B | ii) | Type B |  | m² | 2000 |  | 0 |  | B206BType Bm² | #REF! | F0 | C2 | C2
B219 | C.26 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 45 |  | 0 |  | B219Detectable Warning Surface TilesCW 3326-R3each | #REF! | F0 | C2 | C2
|  | ROADWORKS - NEW CONSTRUCTION | [5 empty] | LOCKED | ROADWORKS - NEW CONSTRUCTION | #REF! | G | C2 | C2
C001 | C.27 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18 |  |  |  |  | LOCKED | C001Concrete Pavements, Median Slabs, Bull-noses, and Safety MediansCW 3310-R18 | #REF! | G | C2 | C2
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 200 |  | 0 |  | C008Construction of 200 mm Type 1 Concrete Pavement - (Reinforced)m² | #REF! | F0 | C2 | C2
C055 | C.28 | Construction of Asphaltic Concrete Pavements | CW 3410-R12 |  |  |  |  | LOCKED | C055Construction of Asphaltic Concrete PavementsCW 3410-R12 | #REF! | G | C2 | C2
C056 | i) | Main Line Paving | [5 empty] | LOCKED | C056Main Line Paving | #REF! | G | C2 | C2
C058 | a) | Type IA |  | tonne | 2430 |  | 0 |  | C058Type IAtonne | #REF! | F0 | C2 | C2
C059 | ii) | Tie-ins and Approaches | [5 empty] | LOCKED | C059Tie-ins and Approaches | #REF! | G | C2 | C2
C060 | a) | Type IA |  | tonne | 260 |  | 0 |  | C060Type IAtonne | #REF! | F0 | C2 | C2
|  | JOINT AND CRACK SEALING | [5 empty] | LOCKED | JOINT AND CRACK SEALING | #REF! | G | C2 | C2
D006 | C.29 | Reflective Crack Maintenance | CW 3250-R7 | m | 2400 |  | 0 |  | D006Reflective Crack MaintenanceCW 3250-R7m | #REF! | F0 | C2 | C2
|  | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | [5 empty] | LOCKED | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | #REF! | G | C2 | C2
E003 | C.30 | Catch Basin | CW 2130-R12 |  |  |  |  | LOCKED | E003Catch BasinCW 2130-R12 | #REF! | G | C2 | C2
E004A | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0 |  | E004ASD-024, 1800 mm deepeach | #REF! | F0 | C2 | C2
E005A | ii) | SD-025, 1800 mm deep |  | each | 8 |  | 0 |  | E005ASD-025, 1800 mm deepeach | #REF! | F0 | C2 | C2
E006 | C.31 | Catch Pit | CW 2130-R12 |  |  |  |  | LOCKED | E006Catch PitCW 2130-R12 | #REF! | G | C2 | C2
E007 | i) | SD-023 |  | each | 5 |  | 0 |  | E007SD-023each | #REF! | F0 | C2 | C2
| C.32 | Installation of Curb Inlet Box, Frame and Cover | SD-221, SD-222 | each | 5 |  | 0 |  | Installation of Curb Inlet Box, Frame and CoverSD-221, SD-222each | #REF! | F0 | C2 | C2
E008 | C.33 | Sewer Service | CW 2130-R12 |  |  |  |  | LOCKED | E008Sewer ServiceCW 2130-R12 | #REF! | G | C2 | C2
E009 | i) | 250 mm, PVC | [5 empty] | LOCKED | E009250 mm, PVC | #REF! | G | C2 | C2
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 30 |  | 0 |  | E010In a Trench, Class B Type 2 Bedding, Class 2 Backfillm | #REF! | F0 | C2 | C2
E012 | C.34 | Drainage Connection Pipe | CW 2130-R12 | m | 15 |  | 0 |  | E012Drainage Connection PipeCW 2130-R12m | #REF! | F0 | C2 | C2
E013 | C.35 | Sewer Service Risers | CW 2130-R12 |  |  |  |  | LOCKED | E013Sewer Service RisersCW 2130-R12 | #REF! | G | C2 | C2
E014 | i) | 200 mm | [5 empty] | LOCKED | E014200 mm | #REF! | G | C2 | C2
E016 | a) | SD-015 |  | vert. m | 5 |  | 0 |  | E016SD-015vert. m | #REF! | F2 | C2 | C2
E023 | C.36 | Frames & Covers | CW 3210-R8 |  |  |  |  | LOCKED | E023Frames & CoversCW 3210-R8 | #REF! | G | C2 | C2
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 23 |  | 0 |  | E024AP-006 - Standard Frame for Manhole and Catch Basineach | #REF! | F0 | C2 | C2
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 15 |  | 0 |  | E025AP-007 - Standard Solid Cover for Standard Frameeach | #REF! | F0 | C2 | C2
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 8 |  | 0 |  | E026AP-008 - Standard Grated Cover for Standard Frameeach | #REF! | F0 | C2 | C2
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 5 |  | 0 |  | E028AP-011 - Barrier Curb and Gutter Frameeach | #REF! | F0 | C2 | C2
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 5 |  | 0 |  | E029AP-012 - Barrier Curb and Gutter Covereach | #REF! | F0 | C2 | C2
E034 | C.37 | Connecting to Existing Catch Basin | CW 2130-R12 |  |  |  |  | LOCKED | E034Connecting to Existing Catch BasinCW 2130-R12 | #REF! | G | C2 | C2
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 5 |  | 0 |  | E035250 mm Drainage Connection Pipeeach | #REF! | F0 | C2 | C2
E036 | C.38 | Connecting to Existing Sewer | CW 2130-R12 |  |  |  |  | LOCKED | E036Connecting to Existing SewerCW 2130-R12 | #REF! | G | C2 | C2
E037 | i) | 250 mm (Type PVC) Connecting Pipe | [5 empty] | LOCKED | E037250 mm (Type PVC) Connecting Pipe | #REF! | G | C2 | C2
E040 | a) | Connecting to 450 mm (Type Brick/Poly Lined) Sewer |  | each | 3 |  | 0 |  | E040Connecting to 450 mm (Type Brick/Poly Lined) Sewereach | #REF! | F0 | C2 | C2
E042 | C.39 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12 |  |  |  |  | LOCKED | E042Connecting New Sewer Service to Existing Sewer ServiceCW 2130-R12 | #REF! | G | C2 | C2
E043 | i) | 250 mm |  | each | 5 |  | 0 |  | E043250 mmeach | #REF! | F0 | C2 | C2
E044 | C.40 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0 |  | E044Abandoning Existing Catch BasinsCW 2130-R12each | #REF! | F0 | C2 | C2
E046 | C.41 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0 |  | E046Removal of Existing Catch BasinsCW 2130-R12each | #REF! | F0 | C2 | C2
E047 | C.42 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0 |  | E047Removal of Existing Catch PitCW 2130-R12each | #REF! | F0 | C2 | C2
| C.43 | Removal of Curb Inlet Box, Frame and Cover |  | each | 11 |  | 0 |  | Removal of Curb Inlet Box, Frame and Covereach | #REF! | F0 | C2 | C2
E050A | C.44 | Catch Basin Cleaning | CW 2140-R4 | each | 15 |  | 0 |  | E050ACatch Basin CleaningCW 2140-R4each | #REF! | F0 | C2 | C2
E051 | C.45 | Installation of Subdrains | CW 3120-R4 | m | 40 |  | 0 |  | E051Installation of SubdrainsCW 3120-R4m | #REF! | F0 | C2 | C2
|  | ADJUSTMENTS | [5 empty] | LOCKED | ADJUSTMENTS | #REF! | G | C2 | C2
F001 | C.46 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 15 |  | 0 |  | F001Adjustment of Manholes/Catch Basins FramesCW 3210-R8each | #REF! | F0 | C2 | C2
F002 | C.47 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
F003 | C.48 | Lifter Rings (AP-010) | CW 3210-R8 |  |  |  |  | LOCKED | F003Lifter Rings (AP-010)CW 3210-R8 | #REF! | G | C2 | C2
F004 | i) | 38 mm |  | each | 1 |  | 0 |  | F00438 mmeach | #REF! | F0 | C2 | C2
F005 | ii) | 51 mm |  | each | 16 |  | 0 |  | F00551 mmeach | #REF! | F0 | C2 | C2
F007 | iii) | 76 mm |  | each | 1 |  | 0 |  | F00776 mmeach | #REF! | F0 | C2 | C2
F009 | C.49 | Adjustment of Valve Boxes | CW 3210-R8 | each | 5 |  | 0 |  | F009Adjustment of Valve BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F010 | C.50 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0 |  | F010Valve Box ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
F011 | C.51 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0 |  | F011Adjustment of Curb Stop BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F018 | C.52 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0 |  | F018Curb Stop ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
F028 | C.53 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 15 |  | 0 |  | F028Adjustment of Traffic Signal Service Box FramesCW 3210-R8each | #REF! | F0 | C2 | C2
|  | LANDSCAPING | [5 empty] | LOCKED | LANDSCAPING | #REF! | G | C2 | C2
G001 | C.54 | Sodding | CW 3510-R9 |  |  |  |  | LOCKED | G001SoddingCW 3510-R9 | #REF! | G | C2 | C2
G003 | i) | width > or = 600 mm |  | m² | 2000 |  | 0 |  | G003width > or = 600 mmm² | #REF! | F0 | C2 | C2
|  | MISCELLANEOUS | [5 empty] | LOCKED | MISCELLANEOUS | #REF! | G | C2 | C2
| C.55 | Hydro Excavation | E18 | hours | 150 |  | 0 |  | Hydro Excavationhours | #REF! | F0 | C2 | C2
| C.56 | Removal and Installation of Utility Frame and Cover | E20 | each | 2 |  | 0 |  | Removal and Installation of Utility Frame and Covereach | #REF! | F0 | C2 | C2
| C.57 | Installation of Utility Manhole Riser Rings | E20 | each | 2 |  | 0 |  | Installation of Utility Manhole Riser Ringseach | #REF! | F0 | C2 | C2
| C.58 | Installation of Winnipeg BIZ Street Furniture | E25 |  |  |  |  | LOCKED | Installation of Winnipeg BIZ Street Furniture | #REF! | G | C2 | C2
| i) | Waste Receptacle |  | each | 17 |  | 0 |  | Waste Receptacleeach | #REF! | F0 | C2 | C2
| ii) | Multi-Hoop Bike Rack |  | each | 2 |  | 0 |  | Multi-Hoop Bike Rackeach | #REF! | F0 | C2 | C2
| iii) | Single Hoop Bike Rack |  | each | 10 |  | 0 |  | Single Hoop Bike Rackeach | #REF! | F0 | C2 | C2
| iv) | Backless Bench |  | each | 2 |  | 0 |  | Backless Bencheach | #REF! | F0 | C2 | C2
| v) | Backed Bench |  | each | 1 |  | 0 |  | Backed Bencheach | #REF! | F0 | C2 | C2
| vi) | Long Back Bench |  | each | 1 |  | 0 |  | Long Back Bencheach | #REF! | F0 | C2 | C2
| C.59 | Remove and Reinstall Bicyclce Hoop | E24 | each | 10 |  | 0 |  | Remove and Reinstall Bicyclce Hoopeach | #REF! | F0 | C2 | C2
| C.60 | Construction of Winnipeg Transit Shelter Concrete Base (8x15) | E42 | each | 3 |  | 0 |  | Construction of Winnipeg Transit Shelter Concrete Base (8x15)each | #REF! | F0 | C2 | C2
| C.61 | Construction of Winnipeg Transit Power Pedestal Base | E42 | each | 3 |  | 0 |  | Construction of Winnipeg Transit Power Pedestal Baseeach | #REF! | F0 | C2 | C2
| C.62 | Supply and Installation of Conduit to Connect Winnipeg Transit Shelter to Power Source | E42 | m | 180 |  | 0 |  | Supply and Installation of Conduit to Connect Winnipeg Transit Shelter to Power Sourcem | #REF! | F0 | C2 | C2
| C.63 | Supply and Install Flat Rate Dip | E42 | each | 3 |  | 0 |  | Supply and Install Flat Rate Dipeach | #REF! | F0 | C2 | C2
| C | PAVEMENT REHABILITATION: BROADWAY FROM OSBORNE STREET TO MAIN STREET |  |  |  | Subtotal: | 0 | LOCKED | PAVEMENT REHABILITATION: BROADWAY FROM OSBORNE STREET TO MAIN STREET | #REF! | G | C2 | C2
| D | WATER AND WASTE WORK | [5 empty] | LOCKED | WATER AND WASTE WORK | #REF! | G | C2 | C2
|  | MANHOLE REPAIR (MH70055014) | [5 empty] | LOCKED | MANHOLE REPAIR (MH70055014) | #REF! | G | C2 | C2
F002 | D.1 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.25 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.2 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH20012944) | [5 empty] | LOCKED | MANHOLE REPAIR (MH20012944) | #REF! | G | C2 | C2
F002 | D.3 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.4 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.4 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH70038689) | [5 empty] | LOCKED | MANHOLE REPAIR (MH70038689) | #REF! | G | C2 | C2
F002 | D.5 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.6 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH20012770) | [5 empty] | LOCKED | MANHOLE REPAIR (MH20012770) | #REF! | G | C2 | C2
F002 | D.7 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.4 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.8 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH70051680) | [5 empty] | LOCKED | MANHOLE REPAIR (MH70051680) | #REF! | G | C2 | C2
F002 | D.9 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.4 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.10 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH70051679) | [5 empty] | LOCKED | MANHOLE REPAIR (MH70051679) | #REF! | G | C2 | C2
F002 | D.11 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.12 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH20012792) | [5 empty] | LOCKED | MANHOLE REPAIR (MH20012792) | #REF! | G | C2 | C2
F002 | D.13 | Replacing Existing Risers | CW 2130-R12 |  |  |  |  | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | G | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.15 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| D.14 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | ABANDON MANHOLE (MH70054996) | [5 empty] | LOCKED | ABANDON MANHOLE (MH70054996) | #REF! | G | C2 | C2
| D.15 | Abandon Existing Manhole | CW 2130-R12 | each | 1 |  | 0 |  | Abandon Existing ManholeCW 2130-R12each | #REF! | F0 | C2 | C2
|  | ABANDON MANHOLE (MH70054995) | [5 empty] | LOCKED | ABANDON MANHOLE (MH70054995) | #REF! | G | C2 | C2
| D.16 | Abandon Existing Flush Tank Manhole | CW 2130-R12 | each | 1 |  | 0 |  | Abandon Existing Flush Tank ManholeCW 2130-R12each | #REF! | F0 | C2 | C2
|  | ABANDON MANHOLE (MH70054993) | [5 empty] | LOCKED | ABANDON MANHOLE (MH70054993) | #REF! | G | C2 | C2
| D.17 | Abandon Existing Manhole | CW 2130-R12 | each | 1 |  | 0 |  | Abandon Existing ManholeCW 2130-R12each | #REF! | F0 | C2 | C2
|  | ABANDON MANHOLE (MH70054992) | [5 empty] | LOCKED | ABANDON MANHOLE (MH70054992) | #REF! | G | C2 | C2
| D.18 | Abandon Remainder of Existing Manhole | CW 2130-R12 | each | 1 |  | 0 |  | Abandon Remainder of Existing ManholeCW 2130-R12each | #REF! | F0 | C2 | C2
|  | ABANDON MANHOLE (MH70054994) | [5 empty] | LOCKED | ABANDON MANHOLE (MH70054994) | #REF! | G | C2 | C2
| D.19 | Abandon Remainder of Existing Manhole | CW 2130-R12 | each | 1 |  | 0 |  | Abandon Remainder of Existing ManholeCW 2130-R12each | #REF! | F0 | C2 | C2
|  | MANHOLE INSPECTION (MH1) | [5 empty] | LOCKED | MANHOLE INSPECTION (MH1) | #REF! | G | C2 | C2
| D.20 | Manhole Inspection (to confirm condition) | CW 2145-R5 |  |  |  |  | LOCKED | Manhole Inspection (to confirm condition)CW 2145-R5 | #REF! | G | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | SEWER INSPECTION (MA70114137) | [5 empty] | LOCKED | SEWER INSPECTION (MA70114137) | #REF! | G | C2 | C2
E022A | D.21 | Sewer Inspection (to confirm condition) | CW2145-R5 |  |  |  |  | LOCKED | E022ASewer Inspection (to confirm condition)CW2145-R5 | #REF! | G | C2 | C2
E022E | i) | 300 mm, WWS |  | m | 13 |  | 0 |  | E022E300 mm, WWSm | #REF! | F0 | C2 | C2
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0 | LOCKED | WATER AND WASTE WORK | #REF! | G | C2 | C2
| E | TRAFFIC SIGNAL WORK | [5 empty] | LOCKED | TRAFFIC SIGNAL WORK | #REF! | G | C2 | C2
|  | BROADWAY AND OSBORNE STREET | [5 empty] | LOCKED | BROADWAY AND OSBORNE STREET | #REF! | G | C2 | C2
| E.1 | Installation of Conduit - Single | CW 3620, E37 | m | 15 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.2 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E39, E40, E41 | each | 1 |  | 0 |  | Signal Pole Base Early Open - Type ODCW 3620, SD-312A, SD-315.C, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.3 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
| E.4 | Cutovers | CW 3620 | each | 1 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND MEMORIAL | [5 empty] | LOCKED | BROADWAY AND MEMORIAL | #REF! | G | C2 | C2
| E.5 | Installation of Conduit - Single | CW 3620, E37 | m | 200 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.6 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.7 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E39, E40, E41 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type ODCW 3620, SD-312A, SD-315.C, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.8 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 2 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.9 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 4 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND KENNEDY | [5 empty] | LOCKED | BROADWAY AND KENNEDY | #REF! | G | C2 | C2
| E.10 | Installation of Conduit - Single | CW 3620, E37 | m | 70 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.11 | Installation of Conduit - Double | CW 3620, E37 | m | 120 |  | 0 |  | Installation of Conduit - DoubleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.12 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 3 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.13 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0 |  | Controller BaseCW 3620, SD-300each | #REF! | F0 | C2 | C2
| E.14 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 4 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.15 | Service Box - Pre-Cast (36" x 36") | CW 3620, SD-322, E38 | each | 1 |  | 0 |  | Service Box - Pre-Cast (36" x 36")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.16 | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0 |  | Removal of Existing Controller Base or Pedestal BaseCW 3620each | #REF! | F0 | C2 | C2
| E.17 | Ground Rods (Electrodes) | CW 3620 | each | 2 |  | 0 |  | Ground Rods (Electrodes)CW 3620each | #REF! | F0 | C2 | C2
| E.18 | Cutovers | CW 3620 | each | 3 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND EDMONTON | [5 empty] | LOCKED | BROADWAY AND EDMONTON | #REF! | G | C2 | C2
| E.19 | Installation of Conduit - Single | CW 3620, E37 | m | 55 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.20 | Installation of Conduit - Double | CW 3620, E37 | m | 145 |  | 0 |  | Installation of Conduit - DoubleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.21 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 3 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.22 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E39, E40, E41 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type ODCW 3620, SD-312A, SD-315.C, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.23 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0 |  | Controller BaseCW 3620, SD-300each | #REF! | F0 | C2 | C2
| E.24 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 6 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.25 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 4 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
| E.26 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0 |  | Ground Rods (Electrodes)CW 3620each | #REF! | F0 | C2 | C2
| E.27 | Cutovers | CW 3620 | each | 6 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND CARLTON | [5 empty] | LOCKED | BROADWAY AND CARLTON | #REF! | G | C2 | C2
| E.28 | Installation of Conduit - Single | CW 3620, E37 | m | 25 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.29 | Installation of Conduit - Double | CW 3620, E37 | m | 280 |  | 0 |  | Installation of Conduit - DoubleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.30 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 6 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.31 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E39, E40, E41 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type ODCW 3620, SD-312A, SD-315.C, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.32 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0 |  | Controller BaseCW 3620, SD-300each | #REF! | F0 | C2 | C2
| E.33 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 6 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.34 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 5 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
| E.35 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0 |  | Ground Rods (Electrodes)CW 3620each | #REF! | F0 | C2 | C2
| E.36 | Cutovers | CW 3620 | each | 1 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND HARGRAVE | [5 empty] | LOCKED | BROADWAY AND HARGRAVE | #REF! | G | C2 | C2
| E.37 | Installation of Conduit - Single | CW 3620, E37 | m | 30 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.38 | Installation of Conduit - Double | CW 3620, E37 | m | 115 |  | 0 |  | Installation of Conduit - DoubleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.39 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 3 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.40 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 4 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.41 | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 2 |  | 0 |  | Installation of Conduit into Existing Concrete BaseCW 3620each | #REF! | F0 | C2 | C2
| E.42 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 1 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
| E.43 | Cutovers | CW 3620 | each | 2 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND SMITH | [5 empty] | LOCKED | BROADWAY AND SMITH | #REF! | G | C2 | C2
| E.44 | Installation of Conduit - Single | CW 3620, E37 | m | 10 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.45 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 1 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.46 | Cutovers | CW 3620 | each | 1 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND GARRY | [5 empty] | LOCKED | BROADWAY AND GARRY | #REF! | G | C2 | C2
| E.47 | Installation of Conduit - Single | CW 3620, E37 | m | 5 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.48 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 1 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.49 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 1 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
| E.50 | Cutovers | CW 3620 | each | 1 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
|  | BROADWAY AND FORT | [5 empty] | LOCKED | BROADWAY AND FORT | #REF! | G | C2 | C2
| E.51 | Installation of Conduit - Single | CW 3620, E37 | m | 75 |  | 0 |  | Installation of Conduit - SingleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.52 | Installation of Conduit - Double | CW 3620, E37 | m | 60 |  | 0 |  | Installation of Conduit - DoubleCW 3620, E37m | #REF! | F0 | C2 | C2
| E.53 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E39, E40, E41 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E39, E40, E41each | #REF! | F0 | C2 | C2
| E.54 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E38 | each | 2 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E38each | #REF! | F0 | C2 | C2
| E.55 | Cutovers | CW 3620 | each | 4 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
| E | TRAFFIC SIGNAL WORK |  |  |  | Subtotal: | 0 | LOCKED | TRAFFIC SIGNAL WORK | #REF! | G | C2 | C2
| F | MOBILIZATION /DEMOLIBIZATION | [5 empty] | LOCKED | MOBILIZATION /DEMOLIBIZATION | #REF! | G | C2 | C2
I001 | F.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0 |  | I001Mobilization/DemobilizationL. sum | #REF! | F0 | C2 | C2
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0 | LOCKED | MOBILIZATION /DEMOLIBIZATION | #REF! | G | C2 | C2
|  | SUMMARY | [5 empty] | LOCKED | SUMMARY | #REF! | G | G | G
| PART 1 FEDERAL GOVERNMENT FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | G | G
| A | STRUCTURAL SOIL CELLS AND RELATED WORK |  |  |  | Subtotal: | 0 | LOCKED | STRUCTURAL SOIL CELLS AND RELATED WORK | #REF! | G | C2 | C2
| PART 2 MANITOBA HYDRO FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | G | G
| B | STREET LIGHTING AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0 | LOCKED | STREET LIGHTING AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| PART 3 CITY FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | G | G
| C | PAVEMENT REHABILITATION: BROADWAY FROM OSBORNE STREET TO MAIN STREET |  |  |  | Subtotal: | 0 | LOCKED | PAVEMENT REHABILITATION: BROADWAY FROM OSBORNE STREET TO MAIN STREET | #REF! | G | C2 | C2
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0 | LOCKED | WATER AND WASTE WORK | #REF! | G | C2 | C2
| E | TRAFFIC SIGNAL WORK |  |  |  | Subtotal: | 0 | LOCKED | TRAFFIC SIGNAL WORK | #REF! | G | C2 | C2
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0 | LOCKED | MOBILIZATION /DEMOLIBIZATION | #REF! | G | C2 | C2
[6 empty] | (total price) PART 3 | 0 | LOCKED |  | #REF! | F0 | C2 | C2
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0 |  | LOCKED |  | #REF! | G | C2 | G
[8 empty] | LOCKED |  | #REF! | G | C2 | G
Note on E131: Pheifer, Henly: old version has vert m ( no period)