## Unit Prices
FORM B (R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
A003 | A | GENERAL ITEMS |  |  |  |  | 0
| A1 | Site Development and Restoration | Division 01, D20, E6 | lump sum | 1 |  | 0
A004 | A2 | Commissioning, O&M, Training & As-Builts | Division 01, E40 | lump sum | 1 |  | 0
| A | GENERAL ITEMS |  |  |  | Subtotal: | 0
A010 | B | UNDERGROUND WORKS |  |  |  |  | 0
A012 | B1 | Shaft Excavation and Support
A022 |  | a) Lift Station Shaft (incl.backfill) | E18, E19 | lump sum | 1 |  | 0
| B2 | Precast Concrete Structures |  |  |  |  | 0
|  | a) Large Diameter Manholes | E20 |  |  |  | 0
|  | i)Wet Well (3650 mm diameter c/w lining) |  | vt.m. | 13.6 |  | 0
A022A | B3 | Sewer Construction |  |  |  |  | 0
B099 |  | a) 1200 mm Stub Connection to Property Line | E22 | l.m. | 17 |  | 0
|  | b) Connection of 1200 mm Stub Connection to Property Line to Existing 1200 mm PVC DR 35 Stub | E22 | lump sum | 1 |  | 0
B199 |  | c) 1200 mm Stub with Bulkhead | E23 | lump sum | 1 |  | 0
B219 |  | Force Main Construction |  |  |  |  | 0
| B4 | Force Main | CW 2110 , E24 |  |  |  | 0
|  | a) 50 mm Sch 80 PVC Force Main (valve chamber sump discharge) |  |  |  |  | 0
|  | i) Open Cut Installation, Class B Sand Bedding, Class 3 Backfill |  | l.m. | 17 |  | 0
|  | b) 350 mm DR25 PVC Force Main |  |  |  |  | 0
|  | i) Open Cut Installation, Class B Sand Bedding, Class 3 Backfill |  | l.m. | 5 |  | 0
|  | c) 450 mm DR25 PVC Force Main |  |  |  |  | 0
C007 |  | i) Open Cut Installation, Class B Sand Bedding, Class 3 Backfill |  | l.m. | 60 |  | 0
C008 | B5 | Supply and Installation of Fittings | CW 2110, E24 |  |  |  | 0
C014 |  | a) Bends |  |  |  |  | 0
C015 |  | i) 450 mm DR25 PVC - 45° |  | each | 1 |  | 0
E004 | B6 | Restrained Joint Couplings | E24 |  |  |  | 0
|  | a) 50 mm |  | each | 2 |  | 0
|  | b) 350 mm |  | each | 2 |  | 0
|  | c) 450 mm |  | each | 1 |  | 0
| B7 | Connections | CW 2110, E24 |  |  |  | 0
|  | a) Connect to Existing Force Main |  |  |  |  | 0
|  | i) 450 mm Force Main - In-Line Connection |  | each | 1 |  | 0
| B8 | Plugs | CW 2110 |  |  |  | 0
|  | a) 450 mm Plug |  | each | 1 |  | 0
|  | Land Drainage System |  |  |  |  | 0
| B9 | Land Drainage Sewers |  |  |  |  | 0
|  | a) 450 mm DR35 PVC | CW 2130 |  |  |  | 0
|  | i) Open Cut Installation, Class B Sand Bedding, Class 3 Backfill |  | l.m. | 127 |  | 0
| B10 | Plugs | CW 2130 |  |  |  | 0
|  | a) 450 mm Plug |  | each | 2 |  | 0
| B11 | Catch Basins | CW 2130 |  |  |  | 0
|  | a) SD-025 |  | each | 5 |  | 0
| B12 | Manhole | CW 2130, E25 |  |  |  | 0
|  | a) 1200 mm Dia (MH-01) |  | vt.m. | 1.35 |  | 0
|  | Gabion Wall System |  |  |  |  | 0
| B13 | Trenched Rockfill Shearkey | E26 |  |  |  | 0
|  | a) Shear Key Excavation |  | m3 | 1074 |  | 0
|  | b) Shear Key Backfill |  | tonne | 1268 |  | 0
| B14 | Base Course Material - Granular A | CW 3110 | m3 | 189 |  | 0
| B15 | Gabion Retaining Wall | E27 | l.m. | 88 |  | 0
E004 | B16 | Geotextile Fabric (Separation/Filtration) | CW 3130 | m2 | 555 |  | 0
| B17 | Gabion Wall Fence | CW 3550, E28 | l.m. | 88 |  | 0
E005 |  | Corrugated Steel Pipe Culverts |  |  |  |  | 0
E046 | B18 | Supply and Installation of 600 mm CSP, 2.0 mm gauge, polymer coat | CW 3610 | l.m. | 50 |  | 0
| B19 | Supply and Installation of 300 mm CSP, 2.0 mm gauge, polymer coat | CW 3610 | l.m. | 23 |  | 0
| B20 | Culvert End Markers | CW 3610 | each | 5 |  | 0
F001 | B21 | Random Stone Rip Rap | CW 3615 | m3 | 4 |  | 0
F011 | B22 | Geotextile Fabric (Separation/Filtration) | CW 3130 | m2 | 6 |  | 0
|  | Miscellaneous / Other |  |  |  |  | 0
| B23 | Water Cistern | E29 | lump sum | 1 |  | 0
| B24 | Installation of Subdrain | CW 3120, E30 | l.m. | 59 |  | 0
| B25 | Disinfection of 2,300 l.m. Feeder Main | CW 2125, E41 | lump sum | 1 |  | 0
| B | UNDERGROUND WORKS |  |  |  | Subtotal: | 0
| C | SURFACE WORKS
Common Works
| C1 | Stripping, Grubbing and Disposal of Topsoil | CW3010, E31 | ha | 0.738 |  | 0
| C2 | Supply and Place Topsoil | CW3540, E32 | m3 | 394 |  | 0
| C3 | Excavation | CW 3110 | m3 | 400 |  | 0
|  | Lift Station (Phase 1A) Site |  |  |  |  | 0
| C4 | Surfacing Material | CW 3150 |  |  |  | 0
|  | a) Traffic Gravel - Limestone |  | tonne | 444 |  | 0
| C5 | Supplying and Placing Sub-base Material | CW3110 |  |  |  | 0
|  | a) 50 mm Granular A |  | tonne | 2009 |  | 0
| C6 | Supplying and Placing Base Course Material | CW 3110 |  |  |  | 0
|  | a) Base Course Material - Granular A |  | m3 | 259 |  | 0
| C7 | Supply and Install Geogrid | CW 3135 |  |  |  | 0
|  | a) Class A Geogrid |  | m2 | 2459 |  | 0
| C8 | Geotextile Fabric - Separation/Filtration | CW 3130 | m2 | 2459 |  | 0
| C9 | Imported Fill Materials | CW 3110, E33 | m3 | 4536 |  | 0
| C10 | Sub-Grade Compaction | CW 3130 | m2 | 2459 |  | 0
|  | Reinforced Concrete Approach |  |  |  |  | 0
| C11 | Construction of 200 mm Type 1 Reinforced Concrete Pavement | CW 3310 | m2 | 246 |  | 0
| C12 | Supplying and Placing Base Course Material | CW 3110 |  |  |  | 0
|  | a) Base Course Material - Granular A |  | tonne | 49 |  | 0
| C13 | Supply and Install Geogrid | CW 3135 |  |  |  | 0
|  | a) Class A Geogrid |  | m2 | 246 |  | 0
| C14 | Geotextile Fabric (Separation/Filtration) | CW 3130 | m2 | 246 |  | 0
| C15 | Sub-Grade Compaction | CW 3130 | m2 | 246 |  | 0
|  | Miscellaneous / Other |  |  |  |  | 0
| C16 | Supply and Installation of Steel Bollards | E34 | each | 39 |  | 0
| C17 | Supply and Installation of Jersey Barriers | E35 | each | 6 |  | 0
| C18 | Ditch Grading | CW 3110 | m2 | 900 |  | 0
| C19 | Seeding | CW 3520, CW 3540 | m2 | 2750 |  | 0
| C20 | Erosion Control Blanket | E36 | m2 | 2750 |  | 0
F028 | C21 | Silt Fence | E37 | l.m. | 292 |  | 0
| C | SURFACE WORKS |  |  |  | Subtotal: | 0
| D | STRUCTURAL WORKS
| D1 | Cast-in-Place Concrete (Incl. Piles) | Div. 03, 05 | lump sum | 1 |  | 0
| D3 | Pre-Cast Wet Well Base & Slide Gate | Div. 03, 05, 40 | lump sum | 1 |  | 0
| D4 | Building Superstructure | Div. 04, 05, 06, 07, 08, 09 | lump sum | 1 |  | 0
| D5 | Valve Chamber (Incl. Excavation, Backfill, CIP Concrete & Hatches) | Div. 03, 05, 07 | lump sum | 1 |  | 0
| D | STRUCTURAL WORKS |  |  |  | Subtotal: | 0
| E | MECHANICAL WORKS
| E1 | Fire Protection | Div. 10, 21 | lump sum | 1 |  | 0
| E2 | Conveying Equipment | Div. 14 | lump sum | 1 |  | 0
| E3 | Plumbing | Div. 22 | lump sum | 1 |  | 0
| E4 | HVAC | Div. 23 | lump sum | 1 |  | 0
| E5 | Utilities | Div. 33 | lump sum | 1 |  | 0
| E6 | Process | Div. 40 | lump sum | 1 |  | 0
| E7 | Applicable MRST (for Mechanical Items) | N/A | lump sum | 1 |  | 0
| E | MECHANICAL WORKS |  |  |  | Subtotal: | 0
| F | ELECTRICAL AND INSTRUMENTATION WORKS
| F1 | Emergency Generator, Distribution Panel (DP-L72) Load Bank and Automatic Transfer Switch | Division 26 | lump sum | 1 |  | 0
| F2 | Electrical | Division 26 | lump sum | 1 |  | 0
| F3 | Insturmentation | Division 40 | lump sum | 1 |  | 0
| F4 | Standardized PLC Control System and Motor Control Equipment | E14 | lump sum | 1 |  | 0
| F5 | Standardized Electric Valve Actuators | E15 | lump sum | 1 |  | 0
| F6 | Standardized Gas Detection Systems | E16 | lump sum | 1 |  | 0
| F7 | Standardized Instrumentation | E17 | lump sum | 1 |  | 0
| F8 | Applicable MRST (for Electrical and Instrumentation Items) | N/A | lump sum | 1 |  | 0
| F | ELECTRICAL AND INSTRUMENTATION WORKS |  |  |  | Subtotal: | 0
| G | PROVISIONAL ITEMS
| G1 | Disposal of Contaminated Materials | E43 | m3 | 200 |  | 0
| G2 | Additional Work Allowance | E9 | allowance | 1 | 400000 | 400000
| G3 | Heritage Resource Mitigation Measures | E4 | allowance | 1 | 15000 | 15000
| G4 | Allowance for Material Sampling and Testing | E8 | allowance | 1 | 40000 | 40000
| G5 | Change in Contract Conditions | E7 | allowance | 1 | 250000 | 250000
| G | PROVISIONAL ITEMS |  |  |  | Subtotal: | 705000
| TOTAL BID PRICE (MRST Included) (GST extra) (in numbers) |  |  |  |  | 705000