## C13 Form B
FORM B(R1):PRICES
(See "Prices" clause in tender document)
UNIT PRICES
|  | Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
|  | A | Poseidon Bay - Taylor Ave to Cambridge St
A | 1 | A.1 | Sewer Construction | E15
|  | a) | 1050 mm (C76-3)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 93 |  | 0
|  | b) | 1050 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 13 |  | 0
|  | c) | 750 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 89.6 |  | 0
|  | d) | 600 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 158.253 |  | 0
|  | e) | 375 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 43 |  | 0
A | 2 | A.2 | Manholes
|  | a) | Standard Manhole (SD-010) | CW2130
|  | i) | 1200 mm Dia x 1.22 m high base (MH 219, MH 220) |  | vt.m | 6 |  | 0
|  | b) | Large Diameter Manholes | E16
|  | i) | 2100 mm Dia x 2.44 m high base (MH 217) |  | vt.m | 3.04 |  | 0
|  | c) | Drop Manholes
|  | i) | 1500 mm Dia x 1.22 m high base (MH 218) | SD-010D | vt.m | 3 |  | 0
A | 3 | A.3 | Plug Removal | E14
|  | a) | Remove 1050 mm Plug |  | each | 1 |  | 0
A | 4 | A.4 | Install and Remove Temporary Plug | E14
|  | a) | 1050 mm dia. |  | each | 1 |  | 0
A | 5 | A.5 | Concrete Collar | E18
|  | a) | Connect New 1050mm RCP LDS to 1050 mm RCP LDS Stub |  | each | 1 |  | 0
|  | b) | Connect 1050 mm RCP LDS to 1050mm PVC LDS |  | each | 1 |  | 0
A | 6 | A.6 | New Sewer Inspection | CW 2145
|  | a) | 1050 mm |  | m | 106 |  | 0
|  | b) | 750 mm |  | m | 89.6 |  | 0
|  | c) | 600 mm |  | m | 158.253 |  | 0
|  | d) | 375 mm |  | m | 43 |  | 0
|  | e) | 300 mm |  | m | 62 |  | 0
A | 7 | A.7 | Concrete Pipe - Three Edge Bearing Test | CW 2130
|  | a) | 1050 mm (C76-3) |  | each | 1 |  | 0
A | 8 | A.8 | Catch Basin Lead | CW 2130
|  | a) | 250 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 70 |  | 0
|  | b) | 300 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 62 |  | 0
A | 9 | A.9 | CB Lead Risers | CW 2130
|  | a) | 250 mm PVC SDR35 |  | vt.m | 1 |  | 0
|  | b) | 300 mm PVC SDR35 |  | vt.m | 1 |  | 0
A | 10 | A.10 | Connection to Existing Catch Basin and Catch Pit | CW 2130 / E19
|  | a) | 250 mm PVC SDR35 |  | each | 10 |  | 0
A | 11 | A.11 | Connection to Existing Manhole | CW 2130 | each | 2 |  | 0
A | 12 | A.12 | Connect to Existing Sewer | CW 2130
|  | a) | Connecting to 600mm Sewer |  | each | 2 |  | 0
A | 13 | A.13 | Connect to Existing Sewer Service | CW 2130
|  | a) | Connecting to 150mm Sewer Service |  | each | 1 |  | 0
|  | b) | Connecting to 300mm Sewer Service |  | each | 1 |  | 0
A | 14 | A.14 | Connect Catch Basin Lead to LDS Pipe | CW 2130 / E19 | each | 9 |  | 0
A | 15 | A.15 | Sewer Service Regrading | CW 2130
|  | a) | 150 mm PVC SDR35 |  | m | 12 |  | 0
|  | a) | 300 mm PVC SDR35 |  | m | 13 |  | 0
A | 16 | A.16 | Plugging and Abandoning Existing Sewers | CW 2130
|  | a) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 10 |  | 0
A | 17 | A.17 | Abandoning Existing Sewer with Cement-Stabilized Flowable Fill | CW 2130
|  | a) | 300 mm and larger |  | m³ | 2 |  | 0
A | 18 | A.18 | Existing Catch Basin Cleaning and Inspection | E21 | each | 10 |  | 0
A | 19 | A.19 | Watermain Realignments | CW 2110
|  | a) | 150 mm
|  | i) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 41 |  | 0
|  | b) | 150x150x150mm Tee |  | each | 1 |  | 0
|  | c) | Valves | CW2110
|  | i) | 150 mm |  | each | 1 |  | 0
|  | d) | Perpendicular Connection to Existing Watermain | CW2110 | each | 1 |  | 0
|  | e) | Connecting to Existing Watermains (Inline Connection - No Plug Existing) | CW2110 | each | 6 |  | 0
|  | f) | Bends (SD-004) | CW2110
|  | i) | 150mm - 45o |  | each | 18 |  | 0
|  | g) | Watermain and Service Insulation | CW2110 | m2 | 20 |  | 0
|  | h) | Air Release Valve and Cover |  | each | 5 |  | 0
A | 20 | A.20 | Catch Basin (SD-025) | CW 2130 | each | 1 |  | 0
|  | A | Poseidon Bay - Taylor Ave to Cambridge St |  |  | SUBTOTAL |  | 0
|  | B | Ebby Avenue - Cambridge St to Poseidon Bay
B | 1 | B.1 | Sewer Construction | E15
|  | a) | 450 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 Backfill |  | m | 91 |  | 0
B | 2 | B.2 | Manholes | CW 2130
|  | a) | Standard Manhole (SD-010)
|  | i) | 1200 mm Dia x 1.2 m high base (MH 221) |  | vt.m | 1.5 |  | 0
B | 3 | B.3 | New Sewer Inspection | CW 2145
|  | a) | 450 mm |  | m | 91 |  | 0
B | 4 | B.4 | Catch Basin Lead | CW 2130
|  | a) | 250 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 27.12 |  | 0
B | 5 | B.5 | Connection to Existing Catch Basin and Catch Pit | CW 2130 / E19
|  | a) | 250 mm PVC SDR35 |  | each | 3 |  | 0
B | 6 | B.6 | Connection Catch Basin Lead to LDS Pipe | CW 2130 / E19 | each | 1 |  | 0
B | 7 | B.7 | Plugging and Abandoning Existing Sewers | CW 2130
|  | a) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 3 |  | 0
B | 8 | B.8 | Existing Catch Basin Cleaning and Inspection | E21 | each | 3 |  | 0
|  | B | Ebby Avenue - Cambridge St to Poseidon Bay |  |  | SUBTOTAL |  | 0
|  | C | Hector Avenue - Cambridge St to Poseidon Bay
C | 1 | C.1 | Sewer Construction | E15
|  | a) | 300 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 Backfill |  | m | 37.7 |  | 0
C | 2 | C.2 | Manholes
|  | a) | Standard Manhole (SD-010) | CW2130
|  | i) | 1200 mm Dia x 1.2 m high base (MH 222) |  | vt.m | 2 |  | 0
C | 3 | C.3 | New Sewer Inspection | CW 2145
|  | a) | 300 mm |  | m | 37.7 |  | 0
C | 4 | C.4 | Catch Basin Lead | CW 2130
|  | a) | 250mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 7 |  | 0
C | 5 | C.5 | Connection to Existing Catch Basin and Catch Pit | E19
|  | a) | 250mm PVC SDR35 |  | each | 2 |  | 0
C | 6 | C.6 | Plugging and Abandoning Existing Sewers | CW 2130
|  | a) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 2 |  | 0
C | 7 | C.7 | Existing Catch Basin Cleaning and Inspection | E21 | each | 2 |  | 0
|  | C | Hector Avenue - Cambridge St to Poseidon Bay |  |  | SUBTOTAL |  | 0
|  | D | Nathaniel Street - Taylor Ave to Grant Ave
D | 1 | D.1 | Sewer Construction | E15
|  | a) | 1200 mm (C76-3)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 223 |  | 0
|  | b) | 900 mm (C76-3)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 273.413 |  | 0
D | 2 | D.2 | Manholes | CW 2130
|  | b) | Large Diameter Manholes | E16
|  | i) | 1800 mm Dia x 2.44 m high base (MH 225, MH 226) |  | vt.m | 7 |  | 0
|  | ii) | 2100 mm Dia x 2.44 m high base (MH 223) |  | vt.m | 4.3 |  | 0
|  | iii) | 2400 mm Dia x 2.44 m high base (MH 227) |  | vt.m | 3 |  | 0
|  | iv) | 2700 mm Dia x 2.44 m high base (MH 224) |  | vt.m | 4.2 |  | 0
D | 3 | D.3 | 900 mm - 11.25o Concrete Bend | CW 2130 | each | 3 |  | 0
D | 4 | D.4 | 900 mm - 22.5o Concrete Bend | CW 2130 | each | 1 |  | 0
D | 5 | D.5 | New Sewer Inspection | CW 2145
|  | a) | 1200 mm |  | m | 223 |  | 0
|  | b) | 900 mm |  | m | 273.413 |  | 0
D | 6 | D.6 | Catch Basin Lead | CW 2130
|  | a) | 250 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 74.14 |  | 0
|  | b) | 300 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 19 |  | 0
D | 7 | D.7 | Install and Remove Temporary Plug | E14
|  | a) | 1200 mm dia. |  | each | 1 |  | 0
D | 8 | D.8 | Connection to Existing Catch Basin and Catch Pit | E19
|  | a) | 250 mm PVC SDR35 |  | each | 11 |  | 0
|  | b) | 300 mm PVC SDR35 |  | each | 1 |  | 0
D | 9 | D.9 | Plugging and Abandoning Existing Sewers | CW 2130
|  | a) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 11 |  | 0
D | 10 | D.10 | Abandoning Existing Sewer with Cement-Stabilized Flowable Fill | CW 2130
|  | a) | 300 mm and larger |  | m³ | 1.5 |  | 0
D | 11 | D.11 | Existing Catch Basin Cleaning and Inspection | E21 | each | 12 |  | 0
D | 12 | D.12 | Concrete Pipe - Three Edge Bearing Test | CW 2130
|  | a) | 1200 mm (C76-3) |  | each | 1 |  | 0
|  | b) | 900 mm (C76-3) |  | each | 1 |  | 0
D | 13 | D.13 | Connection to Existing Manhole | CW 2130 | each | 1 |  | 0
D | 14 | D.14 | Connect Catch Basin Lead to LDS Pipe | CW 2130 / E19 | each | 12 |  | 0
D | 15 | D.15 | Connect to Existing Sewer | CW 2130
|  | a) | Connection to 375mm Sewer |  | each | 1 |  | 0
|  | b) | Connection to 900mm Sewer |  | each | 1 |  | 0
D | 16 | D.16 | Water Service Regrading
|  | a) | 150 mm
|  | i) | Trenchless installation, Class B sand bedding, Class 3 backfill | CW2110 | m | 4 |  | 0
|  | b) | Connecting to Existing Watermains (Inline Connection - No Plug Existing) | CW2110 | each | 2 |  | 0
|  | c) | Bends (SD-004) | CW2110
|  | i) | 150mm - 45o |  | each | 4 |  | 0
|  | d) | Watermain and Service Insulation | CW2110 | m2 | 4 |  | 0
|  | e) | Air Release Valve and Cover |  | each | 1 |  | 0
D | 17 | D.17 | Sewer Service Regrading
|  | a) | 375 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill | SD-022B | m | 12 |  | 0
|  | b) | Connect to Existing Sewer | CW 2130 | each | 2 |  | 0
|  | c) | Bends (SD-004) | CW2110
|  | i) | 375mm - 45o |  | each | 4 |  | 0
D | 18 | D.18 | Ex. Sewer Cleaning & Inspection (from S-MH60009583 to S-MH60009584) | E21
|  | a) | Existing Sewer Cleaning & Inspection
|  | i) | Pre-Construction Sewer Inspection |  | m | 183 |  | 0
|  | ii) | Post-Construction Sewer Inspection |  | m | 183 |  | 0
|  | D | Nathaniel Street - Taylor Ave to Grant Ave |  |  | SUBTOTAL |  | 0
|  | E | Hector Avenue - Nathaniel St to Hector Bay West (East Leg)
E | 1 | E.1 | Sewer Construction | E15
|  | a) | 900 mm (C76-3)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 184 |  | 0
|  | b) | 300 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 20.5 |  | 0
E | 2 | E.2 | Manholes
|  | a) | Standard Manhole (SD-010) | CW2130
|  | i) | 1200 mm Dia x 1.22 m high base (MH 230) |  | vt.m | 1.86 |  | 0
|  | b) | Large Diameter Manholes | E16
|  | i) | 1800 mm Dia x 2.44 m high base (MH 228, MH 229) |  | vt.m | 7.5 |  | 0
E | 3 | E.3 | New Sewer Inspection | CW 2145
|  | a) | 900 mm |  | m | 184 |  | 0
|  | b) | 300 mm |  | m | 20.5 |  | 0
E | 4 | E.4 | Catch Basin Lead | CW 2130
|  | a) | 250 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 38 |  | 0
E | 5 | E.5 | Connection to Existing Catch Basin and Catch Pit | CW2130 /E19
|  | a) | 250 mm PVC SDR35 |  | each | 6 |  | 0
E | 6 | E.6 | Connection to Ex. Catch Basin Lead | CW2130 /E19
|  | a) | 250 mm PVC SDR35 |  | each | 1 |  | 0
E | 7 | E.7 | Connection CB Lead to LDS Pipe | CW2130 /E19 | each | 5 |  | 0
E | 8 | E.8 | Plugging & Abandoning Ex. Sewers | CW 2130
|  | a) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 7 |  | 0
E | 9 | E.9 | Existing Catch Basin Cleaning and Inspection | E21 | each | 7 |  | 0
E | 10 | E.10 | Ex. Sewer Cleaning & Inspection (from S-MH60009583 to S-MH60009692) | E21
|  | a) | Existing Sewer Cleaning & Inspection
|  | i) | Pre-Construction Sewer Inspection |  | m | 258 |  | 0
|  | ii) | Post-Construction Sewer Inspection |  | m | 258 |  | 0
|  | E | Hector Avenue - Nathaniel St to Hector Bay West (East Leg) |  |  | SUBTOTAL |  | 0
|  | F | Hector Bay West - Hector Ave to Hector Ave
F | 1 | F.1 | Sewer Construction | E15
|  | a) | 600 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 113 |  | 0
|  | b) | 525 mm (C76-3)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 49 |  | 0
|  | c) | 375 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 45 |  | 0
F | 2 | F.2 | Manholes
|  | a) | Standard Manhole (SD-010) | CW2130
|  | i) | 1200 mm Dia x 1.22 m high base (MH 232, MH 233) |  | vt.m | 4 |  | 0
|  | b) | Manholes
|  | i) | 1500 mm Dia x 1.22 m high base (MH 231) | SD-010D | vt.m | 3.5 |  | 0
F | 3 | F.3 | New Sewer Inspection | CW 2145
|  | a) | 600 mm |  | m | 113 |  | 0
|  | b) | 525 mm |  | m | 49 |  | 0
|  | c) | 375 mm |  | m | 45 |  | 0
F | 4 | F.4 | Catch Basin Lead | CW 2130
|  | a) | 250 mm PVC (SDR35)
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 38 |  | 0
F | 5 | F.5 | Connection to Existing Catch Basin and Catch Pit | CW 2130 / E19
|  | a) | 250 mm PVC (SDR35) |  | each | 6 |  | 0
F | 6 | F.6 | Connection to Ex. Catch Basin Lead | CW 2130 / E19
|  | a) | 250 mm PVC SDR35 |  | each | 2 |  | 0
F | 7 | F.7 | Connection Catch Basin Lead to LDS Pipe | CW 2130 / E19 | each | 4 |  | 0
F | 8 | F.8 | Plugging and Abandoning Existing CB Leads | CW 2130
|  | a) | Plugging Existing CB Leads Smaller than 300 mm |  | each | 7 |  | 0
F | 9 | F.9 | Existing Catch Basin Cleaning and Inspection | E21 | each | 8 |  | 0
|  | F | Hector Bay West - Hector Ave to Hector Ave |  |  | SUBTOTAL |  | 0
|  | G | General Site Works
G | 1 | G.1 | Site Development and Restoration | E7 | Lump Sum | 1 |  | 0
G | 2 | G.2 | Allowance for Vibration Monitoring | E26 | Allow | 1 | 25000 | 25000
G | 3 | G.3 | Allowance for Material Sampling and Testing | E27 | Allow | 1 | 10000 | 10000
|  | G | General Site Works |  |  | SUBTOTAL |  | 35000
|  | H | Provisional Items
H | 1 | H.1 | Change in Contract Conditions | E30 | Allow | 1 | 100000 | 100000
H | 2 | H.2 | Utility Exploration | E10 | each | 5 |  | 0
H | 3 | H.3 | Remove and Replace Existing Catch Basin / Catch Pit | CW 2130
|  | a) | SD-023 |  | each | 3 |  | 0
|  | b) | SD-024 |  | each | 3 |  | 0
H | 4 | H.4 | Catch Basin/Pit Repairs | CW 2130
|  | a) | Replace Bricks under CB/ Catch Pit Frame |  | each | 2 |  | 0
|  | b) | Repair Grout Cracking |  | each | 2 |  | 0
|  | c) | Repair Concrete Reducer |  | each | 1 |  | 0
H | 5 | H.5 | Manhole Lifter Rings (AP-010) | CW 2130
|  | a) | 38mm |  | each | 3 |  | 0
|  | b) | 51mm |  | each | 3 |  | 0
H | 6 | H.6 | Replacing Standard Frames and Covers | CW 2130
|  | a) | AP-006 Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
|  | b) | AP-007 Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
|  | c) | AP-008 Standard Grated Cover for Standard Frame |  | each | 2 |  | 0
|  | d) | AP-011 Barrier Curb Frame |  | each | 2 |  | 0
|  | e) | AP-012 Barrier Curb Cover |  | each | 2 |  | 0
|  | f) | AP-013 Barrier Curb Riser Frame |  | each | 2 |  | 0
H | 7 | H.7 | Replacing Existing Manhole or Catch Basin Rungs | CW 2130 | each | 3 |  | 0
H | 8 | H.8 | Replacing Existing Catch Basin Hoods | CW 2130 | each | 3 |  | 0
H | 9 | H.9 | Patching Existing Manhole or Catch Basin | CW 2130 | each | 5 |  | 0
H | 10 | H.10 | Regrading of Existing Sewer Service | CW 2130/ E22
|  | a) | Up to 1.5m long
|  | i) | 100 |  | each | 1 |  | 0
|  | ii) | 150 |  | each | 1 |  | 0
|  | iii) | 200 |  | each | 1 |  | 0
|  | iv) | 250 |  | each | 1 |  | 0
|  | v) | 300 |  | each | 1 |  | 0
|  | b) | Longer than 1.5m
|  | i) | 100 |  | m | 10 |  | 0
|  | ii) | 150 |  | m | 10 |  | 0
|  | iii) | 200 |  | m | 10 |  | 0
|  | iv) | 250 |  | m | 10 |  | 0
|  | v) | 300 |  | m | 10 |  | 0
H | 11 | H.11 | Watermain Renewal | CW 2110
|  | a) | 150 mm
|  | i) | Trench installation, Class B Sand Bedding, Class 3 Backfill |  | m | 10 |  | 0
H | 12 | H.12 | Connecting to Existing Watermains (Inline Connection - No Plug Existing) | CW 2110 | each | 2 |  | 0
H | 13 | H.13 | Watermain Valve | CW 2110
|  | a) | 150 mm Gate Valve |  | each | 2 |  | 0
H | 14 | H.14 | Watermain Fittings | CW 2110
|  | a) | Bends
|  | i) | 150 mm - 45o |  | each | 4 |  | 0
H | 15 | H.15 | Install New Fire Hydrant | CW 2110 | each | 1 |  | 0
H | 16 | H.16 | Water Service Replacement | CW 2110 / E22
|  | a) | 19 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 5 |  | 0
|  | b) | 25 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 5 |  | 0
|  | c) | 38 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 5 |  | 0
|  | d) | 50 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 5 |  | 0
H | 17 | H.17 | Curb Stops | CW 2110 / E22
|  | a) | 19mm |  | each | 2 |  | 0
|  | b) | 25mm |  | each | 2 |  | 0
|  | c) | 38mm |  | each | 1 |  | 0
|  | d) | 50mm |  | each | 1 |  | 0
H | 18 | H.18 | Corporation Stops | CW 2110 / E22
|  | a) | 19mm |  | each | 2 |  | 0
|  | b) | 25mm |  | each | 2 |  | 0
|  | c) | 38mm |  | each | 1 |  | 0
|  | d) | 50mm |  | each | 1 |  | 0
H | 19 | H.19 | Curb Stop Boxes | CW 2110 / E22
|  | a) | 19mm |  | each | 2 |  | 0
|  | b) | 25mm |  | each | 2 |  | 0
|  | c) | 38mm |  | each | 1 |  | 0
|  | d) | 50mm |  | each | 1 |  | 0
H | 20 | H.20 | 10.9 Kilogram Zinc Anode | CW 2110 / E22
|  | a) | On Water Service |  | each | 5 |  | 0
H | 21 | H.21 | Foundation, Bedding and Backfill | CW 2030
|  | a) | Cement Stabilized Fill |  | m3 | 5 |  | 0
|  | b) | Granular Backfill Material |  | m3 | 5 |  | 0
H | 22 | H.22 | Partial Slab Patches | CW 3230
|  | a) | 150 mm Reinforced Concrete Pavement |  | m2 | 5 |  | 0
|  | b) | 200 mm Reinforced Concrete Pavement |  | m2 | 200 |  | 0
H | 23 | H.23 | Concrete Pavements for Early Opening | CW 3310
|  | a) | Construction of 200 mm Concrete Pavement for Early Opening (24 hour) (Reinforced) |  | m2 | 40 |  | 0
H | 24 | H.24 | Concrete Curb Installation | CW 3240
|  | a) | Barrier Curb |  | m | 20 |  | 0
|  | b) | Ramp Curb |  | m | 10 |  | 0
H | 25 | H.25 | Miscellaneous Concrete Slab Renewal | CW 3235
|  | a) | 100 mm Concrete Sidewalk |  | m2 | 20 |  | 0
H | 26 | H.26 | Temporary Surface Restoration | E23
|  | a) | Concrete Pavement |  | m2 | 1450 |  | 0
|  | b) | Sidewalk |  | m2 | 45 |  | 0
|  | c) | Curb |  | m | 330 |  | 0
H | 27 | H.27 | Construction of Asphalt Patches | CW 3410 | m2 | 15 |  | 0
H | 28 | H.28 | Construction of Asphaltic Concrete | CW 3410
|  | a) | Overlays Type 1A |  | tonne | 2 |  | 0
H | 29 | H.29 | Asphalt Planing 0-50 mm depth | CW 3450 | m² | 15 |  | 0
H | 30 | H.30 | Supplying and Placing Base Course Material | CW 3110
|  | a) | Limestone |  | m³ | 25 |  | 0
H | 31 | H.31 | Regrading Existing Surfaces | CW 3330
|  | a) | Sidewalk Blocks |  | m² | 5 |  | 0
H | 32 | H.32 | Tree Removal | E11 | each | 2 |  | 0
H | 33 | H.33 | Tree Planting | E25 | each | 2 |  | 0
H | 34 | H.34 | Sodding | CW 3510 | m2 | 15 |  | 0
|  | H | Provisional Items |  |  | SUBTOTAL |  | 100000
|  | I | TOTAL BID PRICE (Items A + B + C + D + E + F + G + H) (GST extra) (in numbers) |  |  |  | 135000
UNIT PRICES FOR EVALUATION OF BIDS (Refer to B18) The following pricing forms part of the Total Evaluated Bid Price, but not the TOTAL BID PRICE
|  | J | Daily Equipment Costs
|  | J.1 | Change in Contract Conditions | E30
|  | a) | Daily Equipment Rate |  | day | 10 |  | 0
|  | J | Daily Equipment Costs |  |  | SUBTOTAL |  | 0
|  | TOTAL BID PRICE (Items I + J) (GST extra) (in numbers) |  |  |  |  | 135000
Name of Bidder
Note on C3: For Tenders with Budgets enter here. Format is BUDGET: $###.###.##